## input
PlantName | PointOfConnectionCode | UnitCode | TechnologyCode | TechnologyDescription | FuelCode | FuelDescription | PeakingPlantFlag | PlantOperatorCode | PlantOperatorDescription | DateCommissioned | DateDecommissioned | NameplateMegawatts | EffectiveStartDate | EffectiveEndDate | Comments
Ä€tiamuri | ATI2201 | ATI0 | HYD | Hydro | HYD | Hydro |  | MRPL | Mighty River Power Ltd | 1/01/1962 |  | 77 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Aniwhenua | MAT1101 | ANI0 | HYD | Hydro | HYD | Hydro |  | TODD | Todd Energy | 1/01/1981 |  | 25 | 1900-01-01T00:30:00.000+1200 | 2016-04-30T23:59:59.000+1200 | Two units of 12.5 MW each. Change of Ownership from TODD -> PUNZ approx 2016-04-30 - This is an approximate date as the data is insufficient for determining exact change
Aniwhenua | MAT1101 | ANI0 | HYD | Hydro | HYD | Hydro |  | PUNZ | Pulse Utilities New Zealand Ltd | 1/01/1981 |  | 25 | 2016-05-01T00:00:00.000+1200 | 9999-12-31T23:59:59.000+1300 | Two units of 12.5 MW each. Change of Ownership from TODD -> PUNZ approx 2016-04-30 - This is an approximate date as the data is insufficient for determining exact change
ÅŒhaaki | OKI2201 | OKI0 | GEO | Geothermal | GEO | Geothermal |  | CTCT | Contact Energy Ltd | 1/01/1992 |  | 44 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
ÅŒhakuri | OHK2201 | OHK0 | HYD | Hydro | HYD | Hydro |  | MRPL | Mighty River Power Ltd | 1/01/1962 |  | 109 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
ÅŒhau A | OHA2201 | OHA0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd | 1/01/1980 |  | 264 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
ÅŒhau B | OHB2201 | OHB0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd | 1/01/1984 |  | 212 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
ÅŒhau C | OHC2201 | OHC0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd | 1/01/1985 |  | 212 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
ÅŒtÄhuhu A | OTA1101 | OTG0 | OCGT | Open cycle gas turbine | GAS | Gas |  | CTCT | Contact Energy Ltd | 1/01/1968 | 2/05/2014 | 180 | 1968-01-01T00:00:00.000+1200 | 2014-05-02T23:59:59.000+1200
ÅŒtÄhuhu B | OTA2202 | OTC0 | OCGT | Open cycle gas turbine | GAS | Gas |  | CTCT | Contact Energy Ltd | 1/01/2000 | 30/09/2015 | 400 | 2000-01-01T00:00:00.000+1300 | 2015-09-30T23:59:59.000+1300
Arapuni | ARI1101 | ARI0 | HYD | Hydro | HYD | Hydro |  | MRPL | Mighty River Power Ltd | 1/01/1929 |  | 84 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Arapuni | ARI1102 | ARI0 | HYD | Hydro | HYD | Hydro |  | MRPL | Mighty River Power Ltd | 1/01/1929 |  | 107 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Aratiatia | ARA2201 | ARA0 | HYD | Hydro | HYD | Hydro |  | MRPL | Mighty River Power Ltd | 1/01/1964 |  | 78 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Aviemore | AVI2201 | AVI0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd | 1/01/1968 |  | 220 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Benmore | BEN2202 | BEN0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd | 1/01/1965 |  | 540 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Benmore | BEN0163 | BEN0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd |  |  | 16 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Benmore | BEN0162 | BEN0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd |  |  | 16 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Branch River (Arnold) | ARG1101 | BRR0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1983 |  | 12 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Branch River (Arnold) | ARG1101 | BRR0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1983 |  | 12 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Carter Holt Harvey Energy Ltd CoGen | KAW0112 | ONU0 | GEO | Geothermal | GEO | Geothermal |  | CHHE | Carter Holt Harvey Energy Ltd | 1/01/1966 |  | 53 | 2023-05-06T00:00:00.000+1200 | 9999-12-31T23:59:59.000+1300
Clyde | CYD2201 | CYD0 | HYD | Hydro | HYD | Hydro |  | CTCT | Contact Energy Ltd | 1/01/1992 |  | 432 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Cobb | COB0661 | COB0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1944 |  | 32 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300 | In late 2014, Transpower decommissioned the circuit between Cobb (COB0661) and Stoke (STK0661), therefore the Cobb power station had to be connected to the grid at STK0661. Previously, Cobb injected at the COB0661 point of connection
Cobb | STK0661 | COB0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1944 |  | 32 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300 | In late 2014, Transpower decommissioned the circuit between Cobb (COB0661) and Stoke (STK0661), therefore the Cobb power station had to be connected to the grid at STK0661. Previously, Cobb injected at the COB0661 point of connection
Cobb | STK0661 | COB0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1944 |  | 32 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Coleridge | COL0661 | COL0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1914 |  | 40 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Coleridge | COL0661 | COL0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1914 |  | 40 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Deep Stream (Waipori A) | HWB0331 | WPI0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/2008 |  | 26 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Deep Stream (Waipori A) | HWB0331 | WPI0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/2008 |  | 26 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Fonterra Dairy - Whareroa | HWA1101 | WAA1 | COG | Co-generation | GAS | Gas |  | TODD | Todd Energy | 1/01/1966 |  | 68 | 1996-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Fonterra Dairy - Whareroa 4 x 17 MW Units
Fonterra Dairy - Whareroa | HWA1102 | WAA2 | COG | Co-generation | GAS | Gas |  | TODD | Todd Energy | 1/01/1966 |  | 68 | 1996-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Fonterra Dairy - Whareroa 4 x 17 MW Units
Fonterra Dairy - Whareroa | HWA1102 | WAA0 | COG | Co-generation | GAS | Gas |  | TODD | Todd Energy | 1/01/1966 |  | 68 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300 | Fonterra Dairy - Whareroa 4 x 17 MW Units
Fonterra Dairy - Whareroa | HWA1102 | WAA1 | COG | Co-generation | GAS | Gas |  | TODD | Todd Energy | 1/01/1966 |  | 68 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300 | Fonterra Dairy - Whareroa 4 x 17 MW Units
Glenbrook Steel | GLN0332 | GLN0 | COG | Co-generation | GAS | Gas |  | ALNT | Alinta Ltd | 1/01/1987 |  | 68 | 1987-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300
Highbank | ASB0661 | HBK0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1945 |  | 28 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Highbank | ASB0661 | HBK0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1945 |  | 28 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Huntly 5 | HLY2201 | HLY5 | CCGT | Combined cycle gas turbine | GAS | Gas |  | GENE | Genesis Power Ltd | 1/01/2007 |  | 403 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300 | sometimes referred to as E3P
Huntly 6 | HLY2201 | HLY6 | OCGT | Open cycle gas turbine | GAS | Gas | Y | GENE | Genesis Power Ltd | 1/01/2004 |  | 50 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300 | sometimes referred to as P40 (40 MW peaker)
Huntly Rankine 1 | HLY2201 | HLY1 | PCL | Pulverised coal | CLG | Coal/Gas |  | GENE | Genesis Power Ltd | 1/01/1983 |  | 250 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Huntly Rankine 2 | HLY2201 | HLY2 | PCL | Pulverised coal | CLG | Coal/Gas |  | GENE | Genesis Power Ltd | 1/01/1983 |  | 250 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Huntly Rankine 3 | HLY2201 | HLY3 | PCL | Pulverised coal | CLG | Coal/Gas |  | GENE | Genesis Power Ltd | 1/01/1983 | 23/01/2014 | 250 | 1983-01-01T00:00:00.000+1300 | 2014-01-23T23:59:59.000+1300
Huntly Rankine 4 | HLY2201 | HLY4 | PCL | Pulverised coal | CLG | Coal/Gas |  | GENE | Genesis Power Ltd | 1/01/1983 |  | 250 | 1983-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Mothballed on 2015-12-31 but brought back into service for winter 2021
Junction Road | JRD1101 | JRD0 | OCGT | Open cycle gas turbine | GAS | Gas | Y | TGTL | Todd Generation Taranaki Limited | 1/01/2020 |  | 130 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
KÅ«mara | KUM0661 | KUM0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1928 |  | 10 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
KÅ«mara | KUM0661 | KUM0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1928 |  | 10 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Kaimai 5 | TGA0331 | KMI0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1972 |  | 42 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Kaimai 5 | TGA0331 | KMI0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1972 |  | 42 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Kaitawa | TUI1101 | KTW0 | HYD | Hydro | HYD | Hydro |  | GENE | Genesis Power Ltd | 1/01/1948 |  | 36 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Kapuni | KPA1101 | KPI1 | COG | Co-generation | GAS | Gas |  | TODD | Todd Energy | 1/01/1998 |  | 25 | 1998-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300
KarÄpiro | KPO1101 | KPO0 | HYD | Hydro | HYD | Hydro |  | MRPL | Mighty River Power Ltd | 1/01/1948 |  | 112.5 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Kawerau | KAW0111 | TAM0 | GEO | Geothermal | GEO | Geothermal |  | TAOM | Eastland Generation Ltd | 1/01/2018 |  | 27 | 2018-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Plant name sometimes called Te Ahi O Maui
Kawerau | KAW1101 | KAG0 | GEO | Geothermal | GEO | Geothermal |  | MRPL | Mighty River Power Ltd | 1/01/2008 |  | 109 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Kinleith | KIN0112 | KIN0 | COG | Co-generation | GAS | Gas |  | TRUS | TrustPower Ltd | 1/01/1998 |  | 40 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Kinleith | KIN0112 | KIN0 | COG | Co-generation | GAS | Gas |  | CNIR | Manawa Energy | 1/01/1998 |  | 40 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Mahinerangi (Waipori B) | HWB0331 | MAH0 | WIN | Wind | WIN | Wind |  | TRUS | TrustPower Ltd | 1/01/2011 |  | 36 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Mahinerangi (Waipori B) | HWB0331 | MAH0 | WIN | Wind | WIN | Wind |  | CNIR | Manawa Energy | 1/01/2011 |  | 36 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
ManapÅuri | MAN2201 | MAN0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd | 1/01/1972 |  | 802 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Mangahao | MHO0331 | MHO0 | HYD | Hydro | HYD | Hydro |  | KING | King Country Energy Ltd | 1/01/1924 |  | 42 | 1924-01-01T00:00:00.000+1130 | 9999-12-31T23:59:59.000+1300
Maraetai | MTI2201 | MTI0 | HYD | Hydro | HYD | Hydro |  | MRPL | Mighty River Power Ltd | 1/01/1971 |  | 360 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Matahina | MAT1102 | MAT0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1967 |  | 80 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Matahina | MAT1101 | MAT0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1967 |  | 80 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Matahina | MAT1101 | MAT0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1967 |  | 80 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
McKee | MKE1101 | MKE1 | OCGT | Open cycle gas turbine | GAS | Gas | Y | TGTL | Todd Generation Taranaki Limited | 1/01/2013 |  | 100 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Mill Creek | WIL0331 | MCK0 | WIN | Wind | WIN | Wind |  | MERI | Meridian Energy Ltd | 1/01/2014 |  | 60 | 2014-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300
Mokai | WKM2201 | MOK0 | GEO | Geothermal | GEO | Geothermal |  | TUAR | Tuaropaki Power Company | 1/01/2000 |  | 112 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
New Plymouth | NPL2201 | NPL3 |  |  | GAS | Gas |  |  |  | 1/01/1974 | 29/02/2012 | 600 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300 | 5 x 120MW units
Nga Awa PÅ«rua | NAP2201 | NAP0 | GEO | Geothermal | GEO | Geothermal |  | NAPJ | Nga Awa Purua JV | 1/01/2010 |  | 144 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
NgÄ Tamariki | NAP2202 | NTM0 | GEO | Geothermal | GEO | Geothermal |  | MRPL | Mighty River Power Ltd | 1/01/2013 |  | 87 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
NgÄwhÄ B | KOE1101 | NGB0 | GEO | Geothermal | GEO | Geothermal |  | NGAG | Ngawha Generation Ltd | 1/01/2020 |  | 31.5 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Norske Skog CoGen | KAW0112 | ONU0 | GEO | Geothermal | GEO | Geothermal |  | SKOG | Norske Skog Tasman Ltd | 1/01/1966 |  | 53 | 1900-01-01T00:30:00.000+1200 | 2023-05-05T23:59:59.000+1200
Paerau Gorge | NSY0331 | PAE0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1984 |  | 12.5 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Paerau Gorge | NSY0331 | PAE0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1984 |  | 12.5 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Patea unit 1 | HWA1101 | PTA1 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1984 |  | 11.5 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Patea unit 1 | HWA1101 | PTA1 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1984 |  | 11.5 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Patea unit 2 | HWA1101 | PTA2 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1984 |  | 11 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Patea unit 2 | HWA1101 | PTA2 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1984 |  | 11 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Patea unit 3 | HWA1101 | PTA3 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1984 |  | 12 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Patea unit 3 | HWA1101 | PTA3 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1984 |  | 12 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Pirirpaua | TUI1101 | PRI0 | HYD | Hydro | HYD | Hydro |  | GENE | Genesis Power Ltd | 1/01/1943 |  | 44 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Poihipi | PPI2201 | PPI0 | GEO | Geothermal | GEO | Geothermal |  | CTCT | Contact Energy Ltd | 1/01/1997 |  | 55 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Rangipo | RPO2201 | RPO0 | HYD | Hydro | HYD | Hydro |  | GENE | Genesis Power Ltd | 1/01/1983 |  | 120 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Roaring Meg | CML0331 | TVT0 | HYD | Hydro | HYD | Hydro |  | PIGE | Pioneer Generation | 1/01/1936 |  | 12 | 1936-01-01T00:00:00.000+1200 | 9999-12-31T23:59:59.000+1300 | Operator might be PION, Pioneer Energy?
Rotokawa | WRK0331 | RKA0 | GEO | Geothermal | GEO | Geothermal |  | MRPL | Mighty River Power Ltd | 1/01/1997 |  | 36 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Roxburgh | ROX1101 | ROX0 | HYD | Hydro | HYD | Hydro |  | CTCT | Contact Energy Ltd | 1/01/1956 |  | 123 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Roxburgh | ROX2201 | ROX0 | HYD | Hydro | HYD | Hydro |  | CTCT | Contact Energy Ltd | 1/01/1956 |  | 205 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Southdown | SWN2201 | SWN0 | COG | Co-generation | GAS | Gas |  | MRPL | Mighty River Power Ltd | 1/01/1996 | 19/01/2016 | 130 | 1996-01-01T00:00:00.000+1300 | 2016-01-19T23:59:59.000+1300
Southdown 5 | SWN2201 | SWN5 | CCGT | Combined cycle gas turbine | GAS | Gas |  | MRPL | Mighty River Power Ltd | 1/01/2007 | 19/01/2016 | 50 | 2007-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300
Southdown Battery | SWN2201 | SWN1 | BAT | Chemical battery | ELC | Electricity |  | MRPL | Mighty River Power Ltd | 1/01/2017 |  | 1 | 2017-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Not sure when this battery started injecting
Stratford Peaker 1 | SFD2201 | SFD21 | OCGT | Open cycle gas turbine | GAS | Gas | Y | CTCT | Contact Energy Ltd | 1/01/2011 |  | 106 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Stratford Peaker 2 | SFD2201 | SFD22 | OCGT | Open cycle gas turbine | GAS | Gas | Y | CTCT | Contact Energy Ltd | 1/01/2011 |  | 106 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
TakapÅ A | TKA0111 | TKA1 | HYD | Hydro | HYD | Hydro |  | GENE | Genesis Power Ltd | 1/01/1951 |  | 25 | 2011-06-01T00:00:00.000+1200 | 9999-12-31T23:59:59.000+1300
TakapÅ A | TKA0111 | TKA0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd | 1/01/1951 |  | 25 | 1900-01-01T00:30:00.000+1200 | 2011-05-31T23:59:59.000+1200
TakapÅ B | TKB2201 | TKB1 | HYD | Hydro | HYD | Hydro |  | GENE | Genesis Power Ltd | 1/01/1977 |  | 160 | 2011-06-01T00:00:00.000+1200 | 9999-12-31T23:59:59.000+1300
TakapÅ B | TKB2201 | TKB0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd | 1/01/1977 |  | 160 | 1900-01-01T00:30:00.000+1200 | 2011-05-31T23:59:59.000+1200
Taranaki Combined Cycle | SFD2201 | SPL0 | OCGT | Open cycle gas turbine | GAS | Gas |  | CTCT | Contact Energy Ltd | 1/01/1998 |  | 385 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Tararua stage I | LTN0331 | TWF0 | WIN | Wind | WIN | Wind |  | TRUS | TrustPower Ltd | 1/01/1999 |  | 36 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Tararua stage I | LTN0331 | TWF0 | WIN | Wind | WIN | Wind |  | CNIR | Manawa Energy | 1/01/1999 |  | 36 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Tararua stage II | BPE0331 | TWF0 | WIN | Wind | WIN | Wind |  | TRUS | TrustPower Ltd | 1/01/2004 |  | 37 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Tararua stage II | BPE0331 | TWF0 | WIN | Wind | WIN | Wind |  | CNIR | Manawa Energy | 1/01/2004 |  | 37 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Tararua Wind Farm 3 | TWC2201 | TWF0 | WIN | Wind | WIN | Wind |  | TRUS | TrustPower Ltd | 1/01/2007 |  | 93 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Tararua Wind Farm 3 | TWC2201 | TWF0 | WIN | Wind | WIN | Wind |  | CNIR | Manawa Energy | 1/01/2007 |  | 93 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Te Ä€piti | WDV1101 | TAP0 | WIN | Wind | WIN | Wind |  | MERI | Meridian Energy Ltd | 1/01/2004 |  | 90 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Te Mihi 1 | THI2201 | THI1 | GEO | Geothermal | GEO | Geothermal |  | CTCT | Contact Energy Ltd | 1/01/2014 |  | 90 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Te Mihi 2 | THI2201 | THI2 | GEO | Geothermal | GEO | Geothermal |  | CTCT | Contact Energy Ltd | 1/01/2014 |  | 91 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Te Rapa | TWH0331 | TRC1 | COG | Co-generation | GAS | Gas |  | CTCT | Contact Energy Ltd | 1/01/1999 |  | 48 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Te Rere Hau | TWC2201 | NZW0 | WIN | Wind | WIN | Wind |  | NZWF | New Zealand Windfarms | 1/01/2011 |  | 49 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Te Uku | TWH0331 | TUK0 | WIN | Wind | WIN | Wind |  | MERI | Meridian Energy Ltd | 1/01/2011 |  | 64.4 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Teviot | CYD0331 | TVT0 | HYD | Hydro | HYD | Hydro |  | PIGE | Pioneer Generation | 1/01/1924 |  | 22 | 1924-01-01T00:00:00.000+1130 | 9999-12-31T23:59:59.000+1300 | Operator might be PION, Pioneer Energy? Not sure of build year
Tokaanu | TKU2201 | TKU0 | HYD | Hydro | HYD | Hydro |  | GENE | Genesis Power Ltd | 1/01/1973 |  | 242 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Tuai | TUI1101 | TUI0 | HYD | Hydro | HYD | Hydro |  | GENE | Genesis Power Ltd | 1/01/1929 |  | 60 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Turitea Wind Farm | LTN2201 | TUR0 | WIN | Wind | WIN | Wind |  | MRPL | Mighty River Power Ltd | 1/01/2021 |  | 222 | 2021-01-01T00:00:00.000+1300 | 9999-12-31T23:59:59.000+1300
WaipÄpa | WPA2201 | WPA0 | HYD | Hydro | HYD | Hydro |  | MRPL | Mighty River Power Ltd | 1/01/1961 |  | 54 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Waipipi | WVY1101 | WPP0 | WIN | Wind | WIN | Wind |  | GENE | Genesis Power Ltd | 1/01/2020 |  | 133 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Waipori (2A/3/4) | BWK1101 | WPI0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1902 |  | 74 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Waipori (2A/3/4) | BWK1101 | WPI0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1902 |  | 74 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Wairakei | WRK0331 | TAA0 | GEO | Geothermal | GEO | Geothermal |  | CTCT | Contact Energy Ltd | 1/01/2010 |  | 30 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Wairakei | WRK2201 | WRK0 | GEO | Geothermal | GEO | Geothermal |  | CTCT | Contact Energy Ltd | 1/01/1958 |  | 152 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Waitaki | WTK0111 | WTK0 | HYD | Hydro | HYD | Hydro |  | MERI | Meridian Energy Ltd | 1/01/1935 |  | 95 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
West Wind 1 | WWD1102 | WWD0 | WIN | Wind | WIN | Wind |  | MERI | Meridian Energy Ltd | 1/01/2009 |  | 80 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
West Wind 2 | WWD1103 | WWD0 | WIN | Wind | WIN | Wind |  | MERI | Meridian Energy Ltd | 1/01/2009 |  | 80 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Whakamaru | WKM2201 | WKM0 | HYD | Hydro | HYD | Hydro |  | MRPL | Mighty River Power Ltd | 1/01/1956 |  | 124 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
Wheao and Flaxy | ROT1101 | WHE0 | HYD | Hydro | HYD | Hydro |  | TRUS | TrustPower Ltd | 1/01/1982 |  | 24 | 1900-01-01T00:30:00.000+1200 | 2021-10-01T09:59:59.000+1300
Wheao and Flaxy | ROT1101 | WHE0 | HYD | Hydro | HYD | Hydro |  | CNIR | Manawa Energy | 1/01/1982 |  | 24 | 2021-10-01T10:00:00.000+1300 | 9999-12-31T23:59:59.000+1300 | Trustpower became Manawa on 1 Oct 2021
Whirinaki | WHI2201 | WHI0 | OCGT | Open cycle gas turbine | DSL | Diesel | Y | CTCT | Contact Energy Ltd | 1/01/2004 |  | 156 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300
White Hill | NMA0331 | WHL0 | WIN | Wind | WIN | Wind |  | MERI | Meridian Energy Ltd | 1/01/2007 |  | 58 | 1900-01-01T00:30:00.000+1200 | 9999-12-31T23:59:59.000+1300