## GXPs
GXP/GIP | Bus | Name | Voltage | Number | Creation date | Easting | Northing | Lat | Long | Island | TLA | Transmission region | A nearby population center or terrain feature | Main lines company | Code | # active ICPs as of Jan 2010 | and by retailer: Meridian Energy | Genesis Power | Contact Energy | Mighty River Power | Trustpower | Other | Main retailer as of 2010 (by ICPs) | Mean offtake over 2005-09 (MW) | Max offtake over 2005-09 (MW) | Load factor | Mean offtake in winter - peak periods (MW) | Mean offtake in winter - offpeak day periods (MW) | Mean offtake in winter - offpeak night periods (MW) | Mean offtake in summer - peak periods (MW) | Mean offtake in summer - offpeak day periods (MW) | Mean offtake in summer - offpeak night periods (MW) | Highest load in… | Daily demand trace over 2007-09 | 168-hour demand profile over 2007-09 | Embedded generators over 1 MW | Direct connect customers | From distributor survey : major individual loads | : comments on other loads | : CBD (%) | : residential (%) | : commercial / industrial (%) | : agricultural (%)
ABY0111 | ABY | Albury | 11 | 1 | earlier | 1424387.2039 | 5097841.1499 | -44.2515 | 170.8003 | S | Mackenzie District | South Canterbury | Albury (which is near Fairlie) | Alpine Energy | ALPE | 1477 | 139 | 120 | 1040 | 4 | 174 | 0 | Contact Energy | 1.2491 | 4.722 | 26.45% | 1.1195 | 1.5948 | 1.4966 | 0.6013 | 1.2467 | 1.1704 | Winter daytime | Plot for ABY0111 | Plot for ABY0111 | Opuha |  |  | Fairlie township | 0% | 50% | 25% | 25%
ADD0111 | ADD | Addington | 11 | 1 | earlier | 1567877.9622 | 5179257.4184 | -43.5389 | 172.6024 | S | Christchurch City | Canterbury | Addington, Christchurch | Orion New Zealand Limited | ORON | 12512 | 7650 | 151 | 3280 | 815 | 421 | 195 | Meridian Energy Ltd | 32.6751 | 67.67 | 48.29% | 42.838 | 41.8808 | 30.7961 | 32.5486 | 35.6061 | 23.3466 | Winter peak | Plot for ADD0111 | Plot for ADD0111 |  |  |  | Part of Christchurch CBD | most | some | some | 0%
ADD0661 | ADD | Addington | 66 | 1 | earlier | 1567877.9622 | 5179257.4184 | -43.5389 | 172.6024 | S | Christchurch City | Canterbury | Addington, Christchurch | Orion New Zealand Limited | ORON | 28822 | 17690 | 379 | 7372 | 2023 | 878 | 480 | Meridian Energy Ltd | 65.9248 | 143.366 | 45.98% | 87.1692 | 84.2814 | 67.5191 | 61.3044 | 66.0919 | 46.5861 | Winter peak | Plot for ADD0661 | Plot for ADD0661 | 9 MW of assorted embedded gen |  |  | Part of Christchurch CBD | 80% | some | little | 0%
ALB0331 | ALB | Albany | 33 | 1 | earlier | 1750949.6278 | 5932750.6981 | -36.739 | 174.6907 | N | North Shore City | North Isthmus | Albany, North Shore | United Networks Ltd | UNET | 35581 | 628 | 13209 | 6429 | 14763 | 240 | 312 | Mighty River Power Limited | 66.6756 | 150.636 | 44.26% | 93.9569 | 77.9578 | 57.9928 | 74.5383 | 73.1154 | 49.6085 | Winter peak | Plot for ALB0331 | Plot for ALB0331 | Rosedale
ALB1101 | ALB | Albany | 110 | 1 | earlier | 1750949.6278 | 5932750.6981 | -36.739 | 174.6907 | N | North Shore City | North Isthmus | Albany, North Shore | United Networks Ltd | UNET | 50354 | 995 | 19172 | 10479 | 19043 | 197 | 468 | Genesis Power | 73.4247 | 173.152 | 42.4% | 106.2002 | 87.654 | 66.5011 | 78.9896 | 76.811 | 53.1656 | Winter peak | Plot for ALB1101 | Plot for ALB1101
APS0111 | APS | Arthur's Pass | 11 | 1 | earlier | 1483145.8698 | 5243862.9542 | -42.9489 | 171.5676 | S | Selwyn District | West Coast | Arthur's Pass | Orion New Zealand Limited | ORON | 159 | 135 | 1 | 16 | 2 | 4 | 1 | Meridian Energy Ltd | 0.13935 | 0.37 | 37.66% | 0.17317 | 0.15354 | 0.15028 | 0.14228 | 0.12787 | 0.10998 | Winter peak | Plot for APS0111 | Plot for APS0111 |  |  |  |  | 0% | some | little | some
ASB0331 | ASB | Ashburton | 33 | 1 | earlier | 1498848.0588 | 5137660.3418 | -43.9072 | 171.7403 | S | Ashburton District | Canterbury | Ashburton | Electricity Ashburton Ltd | EASH | 10426 | 1875 | 77 | 1669 | 30 | 6775 | 0 | Trustpower | 31.0379 | 93.14 | 33.32% | 32.912 | 29.9264 | 25.6009 | 36.7582 | 36.5204 | 30.649 | Summer peak | Plot for ASB0331 | Plot for ASB0331 | Montalto |  | CMP works, PPCS | Irrigation | 10% | 30% | 30% | 30%
ASB0661 | ASB | Ashburton | 66 | 1 | 1999-09-22 | 1498848.0588 | 5137660.3418 | -43.9072 | 171.7403 | S | Ashburton District | Canterbury | Ashburton | Electricity Ashburton Ltd | EASH | 6429 | 3103 | 54 | 491 | 37 | 2744 | 0 | Meridian Energy Ltd | 18.8517 | 93.448 | 20.17% | 4.8418 | 4.7185 | 4.231 | 34.0521 | 34.6716 | 32.1366 | Summer daytime | Plot for ASB0661 | Plot for ASB0661 | Highbank |  |  | Irrigation | 5% | 10% | 20% | 65%
ASY0111 | ASY | Ashley | 11 | 1 | earlier | 1569376.158 | 5209967.8579 | -43.2625 | 172.6227 | S | Waimakariri District | Canterbury | Ashley (which is north of Rangiora) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7.7719 | 11.41 | 68.11% | 7.7237 | 7.7248 | 7.745 | 7.8286 | 7.854 | 7.7761 | Summer daytime | Plot for ASY0111 | Plot for ASY0111 |  | Carter Holt Harvey MDF | Fibre board factory |  | 0% | 0% | 100% | 0%
ATU1101 | ATU | Atarau | 110 | 1 | 2007-04-27 | 1476030.7464 | 5311880.4862 | -42.3355 | 171.4952 | S | Grey District | West Coast | Atarau (east of Greymouth) | Westpower Ltd | WPOW | 80 | 6 | 1 | 1 | 0 | 72 | 0 | Trustpower | 0.84849 | 3.956 | 21.45% | 0.72602 | 0.7325 | 0.70645 | 0.99655 | 0.9968 | 1.0138 | Summer night | Plot for ATU1101 | Plot for ATU1101 |  |  | Pike River mine |  | 0% | 0% | 95% | 5%
BAL0331 | BAL | Balclutha | 33 | 1 | earlier | 1350993.1804 | 4875585.3768 | -46.2277 | 169.7709 | S | Clutha District | Otago Southland | Balclutha | Otago Power Ltd | OTPO | 9166 | 1545 | 121 | 925 | 96 | 6478 | 1 | Trustpower | 17.1705 | 27.78 | 61.81% | 19.5334 | 18.8961 | 15.0875 | 19.0638 | 19.0883 | 15.3296 | Winter peak | Plot for BAL0331 | Plot for BAL0331 |  |  | Meat works | Dairy, sheep, meat, milk, timber | 0% | some | some | 50%
BDE0111 | BDE | Brydone | 11 | 1 | earlier | 1279330.75 | 4872606.0975 | -46.2244 | 168.8417 | S | Gore District | Otago Southland | Mataura (south of Gore) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 6.3463 | 9.47 | 67.01% | 6.4724 | 6.4458 | 6.4863 | 6.2156 | 6.2007 | 6.2321 | Winter night | Plot for BDE0111 | Plot for BDE0111 |  | Dongwha Patinna MDF
BLN0331 | BLN | Blenheim | 33 | 1 | earlier | 1677832.2135 | 5405470.9628 | -41.4986 | 173.9325 | S | Marlborough District | Nelson Marlborough | Blenheim | Marlborough Lines Ltd | MARL | 24075 | 2841 | 457 | 2959 | 300 | 17518 | 0 | Trustpower | 40.6901 | 71.23 | 57.12% | 52.3305 | 44.485 | 36.6267 | 46.1291 | 43.8421 | 33.1482 | Winter peak | Plot for BLN0331 | Plot for BLN0331 | Marlborough Lines Diesel |  | Frozen food producer | Wine industry, irrigation, forestry | 0% | 45% | 30% | 25%
BOB0331 | BOB | Bombay | 33 | 1 | earlier | 1777528.7058 | 5882325.6579 | -37.1887 | 175.0001 | N | Franklin District | Auckland | Bombay Hills | Counties Power Ltd | COUP | 8650 | 106 | 2127 | 4826 | 1473 | 116 | 2 | Contact Energy | 17.1428 | 40.652 | 42.17% | 23.0952 | 19.0046 | 15.5209 | 19.2269 | 17.6081 | 13.8118 | Winter peak | Plot for BOB0331 | Plot for BOB0331 |  |  |  |  | 0% | 70% | 30% | 0%
BOB1101 | BOB | Bombay | 110 | 1 | 2000-05-01 | 1777528.7058 | 5882325.6579 | -37.1887 | 175.0001 | N | Franklin District | Auckland | Bombay Hills | Counties Power Ltd | COUP | 17331 | 203 | 2823 | 8478 | 5489 | 318 | 20 | Contact Energy | 21.9192 | 48.352 | 45.33% | 30.1423 | 25.5421 | 18.9651 | 24.851 | 23.885 | 16.7213 | Winter peak | Plot for BOB1101 | Plot for BOB1101 | Bombay |  |  | Waikato river pumping station, water treatment plant, sawmill | 0% | 60% | 40% | 0%
BPE0331 | BPE | Bunnythorpe | 33 | 1 | earlier | 1824465.5908 | 5537739.4855 | -40.2807 | 175.6403 | N | Manawatu District | Central | Palmerston North | Powerco Ltd | POCO | 32728 | 1905 | 18544 | 5659 | 6218 | 281 | 121 | Genesis Power | 37.7404 | 87.062 | 43.35% | 54.603 | 47.3776 | 34.3489 | 39.3621 | 40.5693 | 25.8664 | Winter peak | Plot for BPE0331 | Plot for BPE0331 | Tararua Stage 2 |  |  |  | 26% | 14% | 27% | 33%
BPE0551 | BPE | Bunnythorpe | 55 | 1 | earlier | 1824465.5908 | 5537739.4855 | -40.2807 | 175.6403 | N | Manawatu District | Central | Palmerston North |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.96584 | 7.324 | 13.19% | 1.0166 | 0.76948 | 1.0109 | 1.1129 | 0.7969 | 1.0281 | Summer peak | Plot for BPE0551 | Plot for BPE0551 |  | Ontrack
BPT1101 | BPT | Black Point | 110 | 1 | earlier | 1426242.3651 | 5027113.4278 | -44.8882 | 170.7997 | S | Waitaki District | Otago Southland | Lower Waitaki River |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.6913 | 10.084 | 16.77% | 0.49958 | 0.53195 | 0.45172 | 3.0631 | 3.0961 | 2.9383 | Summer daytime | Plot for BPT1101 | Plot for BPT1101 |  | Irrigation | Irrigation (only load at GXP) |  | 0% | 0% | 0% | 100%
BRB0331 | BRB | Bream Bay | 33 | 1 | earlier | 1733636.6694 | 6031787.8569 | -35.849 | 174.4799 | N | Whangarei District | North Isthmus | Ruakaka (south of Whangarei) | Northpower Ltd | NPOW | 3918 | 1494 | 1111 | 444 | 836 | 33 | 0 | Meridian Energy Ltd | 36.1527 | 42.822 | 84.43% | 37.761 | 36.547 | 36.0075 | 36.4029 | 35.9302 | 35.3495 | Winter peak | Plot for BRB0331 | Plot for BRB0331 |  |  | Oil refinery |  | 0% | some | most | some
BRK0331 | BRK | Brunswick | 33 | 1 | earlier | 1775374.2119 | 5584684.2321 | -39.8698 | 175.0506 | N | Wanganui District | Central | Wanganui | Powerco Ltd | POCO | 11696 | 159 | 6927 | 1198 | 3200 | 198 | 14 | Genesis Power | 14.4718 | 39.092 | 37.02% | 19.5917 | 16.4196 | 13.565 | 15.1806 | 14.9171 | 11.4001 | Winter peak | Plot for BRK0331 | Plot for BRK0331 |  |  |  | Wanganui city | 25% | 25% | 25% | 25%
BRY0111 | BRY | Bromley | 11 | 1 | earlier | 1575605.868 | 5180021.3809 | -43.5324 | 172.6981 | S | Christchurch City | Canterbury | Bromley, Christchurch | Orion New Zealand Limited | ORON | 13469 | 7934 | 117 | 3904 | 997 | 274 | 243 | Meridian Energy Ltd | 28.8809 | 61.654 | 46.84% | 38.7637 | 33.7342 | 29.7356 | 27.9868 | 27.3463 | 22.0743 | Winter peak | Plot for BRY0111 | Plot for BRY0111 | Christchurch City Wastewater |  |  |  | 0% | most | some | little
BRY0661 | BRY | Bromley | 66 | 1 | earlier | 1575605.868 | 5180021.3809 | -43.5324 | 172.6981 | S | Christchurch City | Canterbury | Bromley, Christchurch | Orion New Zealand Limited | ORON | 43126 | 24604 | 389 | 12414 | 3937 | 829 | 953 | Meridian Energy Ltd | 59.4601 | 158.902 | 37.42% | 82.0646 | 65.8956 | 66.3412 | 54.5373 | 51.1388 | 45.4074 | Winter peak | Plot for BRY0661 | Plot for BRY0661 |  |  |  | Includes about 20% of Christchurch CBD | some | some | some | 0%
CBG0111 | CBG | Cambridge | 11 | 1 | earlier | 1818480.8656 | 5805625.6456 | -37.8707 | 175.4839 | N | Waipa District | Waikato | Cambridge | Waipa Power Ltd | WAIP | 10508 | 185 | 2636 | 262 | 714 | 6475 | 236 | Trustpower | 21.1401 | 38.984 | 54.23% | 25.5173 | 21.2166 | 17.8919 | 25.0176 | 23.1545 | 19.4773 | Winter peak | Plot for CBG0111 | Plot for CBG0111 |  |  | Fonterra Hautapu |  | 0% | 50% | 10% | 40%
CLH0111 | CLH | Castle Hill | 11 | 1 | earlier | 1496821.5704 | 5214720.2962 | -43.2133 | 171.7297 | S | Selwyn District | West Coast | Castle Hill (on road to Arthur's Pass) | Orion New Zealand Limited | ORON | 152 | 107 | 8 | 16 | 9 | 6 | 6 | Meridian Energy Ltd | 0.21577 | 0.75 | 28.77% | 0.30724 | 0.25561 | 0.24396 | 0.19987 | 0.17092 | 0.15525 | Winter peak | Plot for CLH0111 | Plot for CLH0111 |  |  |  |  | 0% | some | little | some
CML0331 | CML | Cromwell | 33 | 1 | earlier | 1300161.9565 | 5003364.733 | -45.0596 | 169.1917 | S | Central Otago District | Otago Southland | Cromwell | Aurora Energy Ltd | DUNE | 10119 | 1193 | 247 | 1898 | 17 | 6737 | 27 | Trustpower | 10.9557 | 27.26 | 40.19% | 16.2411 | 12.9813 | 10.6865 | 11.4694 | 10.4364 | 7.737 | Winter peak | Plot for CML0331 | Plot for CML0331 | Roaring Meg |  |  | Tourism, skifields, vineyard irrigation | 0% | 50% | 20% | 30%
COL0111 | COL | Coleridge | 11 | 1 | earlier | 1480634.7807 | 5197736.5084 | -43.3637 | 171.5268 | S | Selwyn District | Canterbury | Lake Coleridge | Orion New Zealand Limited | ORON | 110 | 67 | 11 | 17 | 0 | 14 | 1 | Meridian Energy Ltd | 0.12592 | 0.346 | 36.39% | 0.18173 | 0.14127 | 0.13992 | 0.12068 | 0.09974 | 0.0944 | Winter peak | Plot for COL0111 | Plot for COL0111
CPK0111 | CPK | Central Park | 11 | 1 | earlier | 1748141.2581 | 5426365.7059 | -41.3006 | 174.7695 | N | Wellington City | Wellington | Central Park, Wellington | Wellington Electricity Lines Limited | CKHK | 8036 | 942 | 4180 | 1599 | 447 | 168 | 700 | Genesis Power | 8.8081 | 24.47 | 36% | 11.8241 | 11.8089 | 7.2759 | 9.5923 | 10.4911 | 6.0553 | Winter peak | Plot for CPK0111 | Plot for CPK0111
CPK0331 | CPK | Central Park | 33 | 1 | earlier | 1748141.2581 | 5426365.7059 | -41.3006 | 174.7695 | N | Wellington City | Wellington | Central Park, Wellington | Wellington Electricity Lines Limited | CKHK | 39709 | 4250 | 19535 | 8270 | 2564 | 666 | 4424 | Genesis Power | 75.1397 | 165.044 | 45.53% | 104.2071 | 92.1456 | 69.1123 | 78.5641 | 78.3481 | 55.2542 | Winter peak | Plot for CPK0331 | Plot for CPK0331 | Southern Landfill
CST0331 | CST | Carrington St | 33 | 1 | earlier | 1694031.9243 | 5673651.7159 | -39.0812 | 174.0872 | N | New Plymouth District | Taranaki | New Plymouth | Powerco Ltd | POCO | 18703 | 637 | 11814 | 1826 | 3292 | 651 | 483 | Genesis Power | 24.8461 | 56.446 | 44.02% | 31.7019 | 30.6719 | 21.692 | 26.4782 | 28.2512 | 19.0961 | Winter peak | Plot for CST0331 | Plot for CST0331 | Mangorei |  |  | New Plymouth city | 24% | 37% | 34% | 5%
CUL0331 | CUL | Culverden | 33 | 1 | earlier | 1589865.0327 | 5270423.5884 | -42.7186 | 172.8762 | S | Hurunui District | Canterbury | Culverden | MainPower NZ Ltd | MPOW | 2978 | 325 | 70 | 2504 | 33 | 46 | 0 | Contact Energy | 5.772 | 15.526 | 37.18% | 5.3392 | 4.3953 | 3.7719 | 8.0928 | 7.6608 | 6.6418 | Summer peak | Plot for CUL0331 | Plot for CUL0331 |  |  |  | Dairy, irrigation | 0% | 25% | 5% | 70%
CYD0331 | CYD | Clyde | 33 | 1 | earlier | 1309790.4621 | 4990373.1161 | -45.1804 | 169.3062 | S | Central Otago District | Otago Southland | Clyde Dam | Aurora Energy Ltd | DUNE | 6617 | 693 | 55 | 1218 | 14 | 4532 | 105 | Trustpower | 0.79003 | 9.17 | 8.615% | 1.3937 | 0.7485 | 0.41772 | 1.2046 | 1.0206 | 0.59378 | Winter peak | Plot for CYD0331 | Plot for CYD0331 | Fraser | Contact Energy (Clyde) |  | Orchards, agriculture, frostfighting | 0% | 35% | 15% | 50%
DAR0111 | DAR | Dargaville | 11 | 1 | earlier | 1679283.835 | 6023142.3489 | -35.9329 | 173.8789 | N | Kaipara District | North Isthmus | Dargaville | Northpower Ltd | NPOW | 5843 | 2637 | 870 | 839 | 1427 | 69 | 1 | Meridian Energy Ltd | 6.8582 | 12.038 | 56.97% | 8.8754 | 7.5348 | 5.7325 | 8.3759 | 7.4081 | 5.6986 | Winter peak | Plot for DAR0111 | Plot for DAR0111 |  |  |  | Dairy | 0% | 50% | 0% | 50%
DOB0331 | DOB | Dobson | 33 | 1 | earlier | 1460287.817 | 5298504.0584 | -42.4532 | 171.3009 | S | Grey District | West Coast | Dobson (east of Greymouth) | Westpower Ltd | WPOW | 2564 | 143 | 22 | 240 | 15 | 2144 | 0 | Trustpower | 4.3928 | 13.114 | 33.5% | 5.3995 | 5.041 | 4.0095 | 4.774 | 4.7245 | 3.6072 | Winter peak | Plot for DOB0331 | Plot for DOB0331 | Arnold |  | Coal mine |  | 0% | 30% | 40% | 30%
DVK0111 | DVK | Dannevirke | 11 | 1 | earlier | 1858017.5871 | 5546717.0153 | -40.1903 | 176.0309 | N | Tararua District | Central | Dannevirke | Scanpower Ltd | SCAN | 5438 | 3569 | 924 | 884 | 13 | 48 | 0 | Meridian Energy Ltd | 8.9609 | 14.864 | 60.29% | 11.0242 | 9.7544 | 7.5545 | 10.5782 | 9.9079 | 7.7379 | Winter peak | Plot for DVK0111 | Plot for DVK0111 |  |  | Alliance, Godfrey Hurst, Kiwi Lumber | Dairy | 10% | 50% | 25% | 15%
EDG0331 | EDG | Edgecumbe | 33 | 1 | earlier | 1936333.6241 | 5788731.5265 | -37.9868 | 176.8294 | N | Whakatane District | BOP | Edgecumbe, near Whakatane | Horizon Energy Distribution Limited | HEDL | 16029 | 69 | 489 | 245 | 355 | 110 | 14761 |  | 31.3323 | 59.958 | 52.26% | 38.6878 | 33.4319 | 29.4742 | 33.7136 | 31.6458 | 27.409 | Winter peak | Plot for EDG0331 | Plot for EDG0331 | Bay Milk Edgecumbe |  | CHH Whakatane |  | 0% | some | little | some
EDN0331 | EDN | Edendale | 33 | 1 | earlier | 1274951.9979 | 4862683.6555 | -46.3114 | 168.7782 | S | Southland District | Otago Southland | Edendale (south of Gore) | The Power Company Ltd | TPCO | 1705 | 173 | 124 | 1277 | 56 | 75 | 0 | Contact Energy | 11.1804 | 26.478 | 42.23% | 8.959 | 8.4636 | 7.6439 | 14.9304 | 14.2902 | 13.8293 | Summer peak | Plot for EDN0331 | Plot for EDN0331 | Fonterra cogen (4 MW) |  | Fonterra | Dairy | 0% | 5% | 0% | 95%
FHL0331 | FHL | Fernhill | 33 | 1 | earlier | 1923082.6265 | 5609948.2039 | -39.5993 | 176.7625 | N | Hastings District | Hawkes Bay | Hastings | Unison Network Ltd | HAWK | 15089 | 272 | 6067 | 8309 | 53 | 388 | 0 | Contact Energy | 27.9299 | 57.972 | 48.18% | 37.0372 | 31.7509 | 24.8251 | 30.6972 | 29.4718 | 22.6737 | Winter peak | Plot for FHL0331 | Plot for FHL0331
FKN0331 | FKN | Frankton | 33 | 1 | earlier | 1264310.3156 | 5007063.021 | -45.0104 | 168.74 | S | Queenstown-Lakes District | Otago Southland | Queenstown | Aurora Energy Ltd | DUNE | 11454 | 980 | 234 | 3838 | 32 | 6292 | 78 | Trustpower | 22.4192 | 48.3 | 46.42% | 32.7099 | 28.7167 | 24.6045 | 20.6219 | 19.1832 | 14.6385 | Winter peak | Plot for FKN0331 | Plot for FKN0331 | Wye Creek |  |  | Tourism, skifields | 0% | 65% | 30% | 5%
GFD0331 | GFD | Gracefield | 33 | 1 | earlier | 1760611.1896 | 5432762.6757 | -41.2406 | 174.9167 | N | Lower Hutt City | Wellington | Gracefield, Petone | Wellington Electricity Lines Limited | CKHK | 15299 | 1013 | 10485 | 1880 | 1452 | 275 | 194 | Genesis Power | 29.86 | 54.768 | 54.52% | 40.8542 | 36.6011 | 27.5189 | 30.9157 | 30.9586 | 22.4045 | Winter peak | Plot for GFD0331 | Plot for GFD0331
GIS0501 | GIS | Gisborne | 50 | 1 | earlier | 2037507.7096 | 5710718.3679 | -38.6441 | 178.026 | N | Gisborne District | Hawkes Bay | Gisborne | Eastland Network Ltd | EAST | 20543 | 472 | 2457 | 15505 | 1060 | 1048 | 1 | Contact Energy | 27.8887 | 44.75 | 62.32% | 36.317 | 32.2272 | 24.3532 | 31.0148 | 30.0176 | 22.6137 | Winter peak | Plot for GIS0501 | Plot for GIS0501 | Gisborne |  |  | Wood processing | 0% | 48% | some | some
GLN0331 | GLN | Glenbrook | 33 | 1 | earlier | 1753639.804 | 5881200.7018 | -37.203 | 174.7313 | N | Franklin District | Auckland | Waiuku (west of Pukekohe) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 78.9498 | 110.074 | 71.72% | 77.1734 | 75.5729 | 79.1314 | 79.7712 | 77.9402 | 81.5926 | Summer night | Plot for GLN0331 | Plot for GLN0331 |  | NZ Steel |  |  | 0% | 0% | 100% | 0%
GLN0332 | GLN | Glenbrook | 33 | 2 | earlier | 1753639.804 | 5881200.7018 | -37.203 | 174.7313 | N | Franklin District | Auckland | Waiuku (west of Pukekohe) | Counties Power Ltd | COUP | 10404 | 103 | 2361 | 5440 | 2377 | 113 | 10 | Contact Energy | -8.0959 | 63.502 | -12.75% | -2.0543 | -6.3334 | -8.2439 | -7.0962 | -9.5503 | -11.3575 | Winter peak | Plot for GLN0332 | Plot for GLN0332 | Glenbrook |  |  |  | 0% | 50% | 40% | 10%
GOR0331 | GOR | Gore | 33 | 1 | earlier | 1284080.786 | 4885051.8507 | -46.1149 | 168.9115 | S | Gore District | Otago Southland | Gore | The Power Company Ltd | TPCO | 9445 | 858 | 147 | 7584 | 85 | 770 | 1 | Contact Energy | 17.5936 | 31.05 | 56.66% | 21.7876 | 19.3717 | 16.459 | 19.4633 | 18.5562 | 14.4568 | Winter peak | Plot for GOR0331 | Plot for GOR0331 | Blue Mountain Lumber |  | Mataura freezing works | Dairy | 5% | 75% | 10% | 10%
GYM0661 | GYM | Greymouth | 66 | 1 | earlier | 1453160.3011 | 5298171.6818 | -42.4549 | 171.2142 | S | Grey District | West Coast | Greymouth | Westpower Ltd | WPOW | 4202 | 179 | 42 | 472 | 18 | 3491 | 0 | Trustpower | 6.2585 | 13.326 | 46.96% | 8.489 | 7.5826 | 5.6951 | 6.6088 | 6.4486 | 4.8138 | Winter peak | Plot for GYM0661 | Plot for GYM0661 |  |  |  |  | 15% | 80% | 5% | 0%
GYT0331 | GYT | Greytown | 33 | 1 | earlier | 1804619.7509 | 5445255.4376 | -41.1182 | 175.4373 | N | South Wairarapa District | Wellington | Greytown | Powerco Ltd | POCO | 6374 | 406 | 4393 | 1430 | 31 | 70 | 44 | Genesis Power | 4.6942 | 11.532 | 40.71% | 5.8885 | 4.4493 | 4.0875 | 5.5154 | 4.8059 | 4.4501 | Winter peak | Plot for GYT0331 | Plot for GYT0331 | Hau Nui |  |  | Irrigation | 12% | 25% | 9% | 54%
HAM0111 | HAM | Hamilton | 11 | 1 | earlier | 1802954.1314 | 5816177.3516 | -37.7792 | 175.3046 | N | Waikato District | Waikato | Hamilton | WEL Networks | WAIK | 13804 | 392 | 10914 | 713 | 1586 | 176 | 23 | Genesis Power | 16.2698 | 40.698 | 39.98% | 23.6227 | 19.1207 | 15.7056 | 17.024 | 15.7189 | 11.8536 | Winter peak | Plot for HAM0111 | Plot for HAM0111 |  |  |  |  | 30% | 30% | 40% | 0%
HAM0331 | HAM | Hamilton | 33 | 1 | earlier | 1802954.1314 | 5816177.3516 | -37.7792 | 175.3046 | N | Waikato District | Waikato | Hamilton | WEL Networks | WAIK | 44301 | 1233 | 35516 | 2016 | 4813 | 631 | 92 | Genesis Power | 69.3227 | 146.052 | 47.46% | 94.5275 | 83.9586 | 61.4513 | 76.0335 | 75.6304 | 51.1717 | Winter peak | Plot for HAM0331 | Plot for HAM0331 |  |  |  |  | 30% | 30% | 40% | 0%
HAM0551 | HAM | Hamilton | 55 | 1 | earlier | 1802954.1314 | 5816177.3516 | -37.7792 | 175.3046 | N | Waikato District | Waikato | Hamilton |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0272 | 7.588 | 13.54% | 0.88366 | 0.61407 | 1.2586 | 1.0206 | 0.67099 | 1.2814 | Summer night | Plot for HAM0551 | Plot for HAM0551 |  | Ontrack
HAY0111 | HAY | Haywards | 11 | 1 | earlier | 1766247.1694 | 5442706.6392 | -41.1499 | 174.9812 | N | Lower Hutt City | Wellington | Silverstream | Wellington Electricity Lines Limited | CKHK | 6495 | 387 | 4421 | 771 | 501 | 94 | 321 | Genesis Power | 8.1249 | 21.04 | 38.62% | 12.2588 | 9.3649 | 8.0638 | 8.4053 | 7.3473 | 5.9015 | Winter peak | Plot for HAY0111 | Plot for HAY0111
HAY0331 | HAY | Haywards | 33 | 1 | earlier | 1766247.1694 | 5442706.6392 | -41.1499 | 174.9812 | N | Lower Hutt City | Wellington | Silverstream | Wellington Electricity Lines Limited | CKHK | 4997 | 349 | 3421 | 541 | 444 | 70 | 172 | Genesis Power | 5.6227 | 19.052 | 29.51% | 9.0904 | 6.8284 | 5.5044 | 5.751 | 5.1242 | 3.7008 | Winter peak | Plot for HAY0331 | Plot for HAY0331 | Silverstream
HEN0331 | HEN | Henderson | 33 | 1 | earlier | 1744224.515 | 5921478.5079 | -36.8416 | 174.6175 | N | Waitakere City | North Isthmus | Henderson, Auckland | United Networks Ltd | UNET | 38127 | 634 | 15308 | 7303 | 14380 | 245 | 257 | Genesis Power | 49.0559 | 112.41 | 43.64% | 70.8713 | 56.4798 | 45.2034 | 53.099 | 48.9189 | 37.0658 | Winter peak | Plot for HEN0331 | Plot for HEN0331
HEP0331 | HEP | Hepburn Rd | 33 | 1 | earlier | 1747953.0175 | 5916476.6315 | -36.8861 | 174.6603 | N | Waitakere City | North Isthmus | Glendene, Auckland | United Networks Ltd | UNET | 47446 | 882 | 16101 | 8549 | 21319 | 214 | 381 | Mighty River Power Limited | 44.5678 | 138.404 | 32.2% | 63.9038 | 55.2316 | 40.4963 | 47.2891 | 46.548 | 32.2552 | Winter peak | Plot for HEP0331 | Plot for HEP0331
HIN0331 | HIN | Hinuera | 33 | 1 | earlier | 1843084.4384 | 5799481.5918 | -37.9198 | 175.7654 | N | South Waikato District | Waikato | South of Matamata | Powerco Ltd | POCO | 10909 | 382 | 6741 | 1349 | 1897 | 299 | 241 | Genesis Power | 21.5961 | 41.02 | 52.65% | 26.5976 | 23.2133 | 17.8061 | 26.349 | 24.2878 | 18.5841 | Winter peak | Plot for HIN0331 | Plot for HIN0331 |  |  | Fonterra Tirau |  | 1% | 20% | 46% | 33%
HKK0661 | HKK | Hokitika | 66 | 1 | 2002-07-24 | 1434858.974 | 5267772.7305 | -42.7248 | 170.9829 | S | Westland District | West Coast | Hokitika | Westpower Ltd | WPOW | 4099 | 182 | 44 | 394 | 23 | 3456 | 0 | Trustpower | 7.2846 | 16.474 | 44.22% | 7.1702 | 6.4287 | 5.4169 | 9.3058 | 8.9154 | 7.869 | Summer peak | Plot for HKK0661 | Plot for HKK0661 | McKays Creek |  | Milk powder factory |  | 5% | 25% | 50% | 20%
HLY0331 | HLY | Huntly | 33 | 1 | 2008-10-10 | 1790103.635 | 5842871.422 | -37.5416 | 175.1518 | N | Waikato District | Waikato | Huntly | WEL Networks | WAIK | 5745 | 90 | 4906 | 273 | 399 | 73 | 4 | Genesis Power | 7.0169 | 18.2 | 38.55% | 8.7968 | 7.5652 | 6.2028 | 8.1195 | 7.5121 | 5.9446 | Winter peak | Plot for HLY0331 | Plot for HLY0331
HOR0331 | HOR | Hororata | 33 | 1 | earlier | 1517691.6957 | 5178086.7744 | -43.5456 | 171.9811 | S | Selwyn District | Canterbury | Darfield | Orion New Zealand Limited | ORON | 3795 | 2365 | 179 | 951 | 104 | 171 | 25 | Meridian Energy Ltd | 9.4402 | 22.888 | 41.25% | 7.3668 | 6.1392 | 5.8733 | 12.9843 | 12.5701 | 12.4527 | Summer peak | Plot for HOR0331 | Plot for HOR0331 |  |  |  | Irrigation | 0% | some | little | most
HOR0661 | HOR | Hororata | 66 | 1 | 2001-09-01 | 1517691.6957 | 5178086.7744 | -43.5456 | 171.9811 | S | Selwyn District | Canterbury | Darfield | Orion New Zealand Limited | ORON | 722 | 525 | 23 | 103 | 5 | 64 | 2 | Meridian Energy Ltd | 8.3062 | 27.508 | 30.2% | 3.8684 | 3.6098 | 3.3266 | 13.2301 | 13.0908 | 13.0562 | Summer peak | Plot for HOR0661 | Plot for HOR0661 |  |  |  | Irrigation | 0% | some | little | most
HTI0331 | HTI | Hangatiki | 33 | 1 | earlier | 1790553.618 | 5764047.2902 | -38.2514 | 175.1777 | N | Waitomo District | Waikato | Te Kuiti | The Lines Company | LINE | 11041 | 181 | 1881 | 4 | 153 | 0 | 8822 |  | 14.7076 | 29.922 | 49.15% | 17.9909 | 15.915 | 11.9053 | 17.7114 | 16.838 | 12.8229 | Winter peak | Plot for HTI0331 | Plot for HTI0331 | Mangapehi |  | Industrial meat processing, iron sands mining/ship loading, limestone processing | Dairy, timber | 0% | 30% | 50% | 20%
HUI0331 | HUI | Huirangi | 33 | 1 | earlier | 1707050.5539 | 5677679.9957 | -39.0434 | 174.237 | N | New Plymouth District | Taranaki | East of New Plymouth | Powerco Ltd | POCO | 6708 | 188 | 4221 | 604 | 1314 | 274 | 107 | Genesis Power | 7.0748 | 28.206 | 25.08% | 7.9912 | 6.8721 | 6.1793 | 8.1998 | 7.6944 | 6.8114 | Summer peak | Plot for HUI0331 | Plot for HUI0331 | Mangahewa |  |  |  | 5% | 34% | 51% | 10%
HWA0331 | HWA | Hawera | 33 | 1 | earlier | 1712533.7437 | 5619538.7281 | -39.5665 | 174.3101 | N | South Taranaki District | Taranaki | Hawera | Powerco Ltd | POCO | 9086 | 289 | 6470 | 963 | 827 | 454 | 83 | Genesis Power | 19.1461 | 28.662 | 66.8% | 21.9755 | 19.7861 | 17.4371 | 21.2745 | 19.8675 | 17.8453 | Winter peak | Plot for HWA0331 | Plot for HWA0331 |  |  |  |  | 2% | 27% | 36% | 35%
HWA1101 | HWA | Hawera | 110 | 1 | earlier | 1712533.7437 | 5619538.7281 | -39.5665 | 174.3101 | N | South Taranaki District | Taranaki | Hawera |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0051185 | 2.042 | 0.2507% | 0.0010176 | 0.0021776 | 0.0042904 | 0.0034464 | 0.010989 | 0.007024 | Summer daytime | Plot for HWA1101 | Plot for HWA1101
HWA1102 | HWA | Hawera | 110 | 2 | earlier | 1712533.7437 | 5619538.7281 | -39.5665 | 174.3101 | N | South Taranaki District | Taranaki | Hawera |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.020363 | 6.372 | 0.3196% | 0.036442 | 0.037763 | 0.030214 | 0.0055432 | 0.011369 | 0.0052662 | Winter daytime | Plot for HWA1102 | Plot for HWA1102 | Patearoa
HWB0331 | HWB | Halfway Bush | 33 | 1 | earlier | 1404005.8101 | 4918939.6613 | -45.8552 | 170.4754 | S | Dunedin City | Otago Southland | Halfway Bush, Dunedin | Aurora Energy Ltd | DUNE | 25372 | 2891 | 241 | 12147 | 3881 | 5901 | 311 | Contact Energy | 35.6698 | 101.004 | 35.32% | 47.3211 | 39.5931 | 35.0905 | 37.3378 | 33.8278 | 28.9874 | Winter peak | Plot for HWB0331 | Plot for HWB0331 | Waipori |  |  | Includes part of Dunedin CBD | 30% | 40% | 25% | 5%
HWB0332 | HWB | Halfway Bush | 33 | 2 | 2002-05-10 | 1404005.8101 | 4918939.6613 | -45.8552 | 170.4754 | S | Dunedin City | Otago Southland | Halfway Bush, Dunedin | Aurora Energy Ltd | DUNE | 11240 | 1247 | 101 | 5390 | 1781 | 2559 | 162 | Contact Energy | 24.4172 | 96.526 | 25.3% | 35.5536 | 32.5958 | 23.4412 | 24.0491 | 23.9109 | 16.2651 | Winter peak | Plot for HWB0332 | Plot for HWB0332 | Waipori |  |  | Includes part of Dunedin CBD | some | most | 0% | 0%
INV0331 | INV | Invercargill | 33 | 1 | earlier | 1245826.316 | 4852015.0254 | -46.3926 | 168.3931 | S | Invercargill City | Otago Southland | Invercargill | Electricity Invercargill Ltd | ELIN | 26361 | 1735 | 498 | 20417 | 153 | 3558 | 0 | Contact Energy | 24.8994 | 64.602 | 38.54% | 33.1532 | 29.8754 | 24.741 | 25.1785 | 24.5323 | 18.6231 | Winter peak | Plot for INV0331 | Plot for INV0331
ISL0331 | ISL | Islington | 33 | 1 | earlier | 1560556.7435 | 5179492.0181 | -43.5365 | 172.5118 | S | Christchurch City | Canterbury | Islington, Christchurch | Orion New Zealand Limited | ORON | 11143 | 6303 | 125 | 3120 | 932 | 348 | 315 | Meridian Energy Ltd | 45.237 | 83.83 | 53.96% | 53.8137 | 53.6939 | 41.9255 | 46.2717 | 49.5172 | 37.2218 | Winter peak | Plot for ISL0331 | Plot for ISL0331 | 5.5 MW of assorted embedded gen
ISL0661 | ISL | Islington | 66 | 1 | earlier | 1560556.7435 | 5179492.0181 | -43.5365 | 172.5118 | S | Christchurch City | Canterbury | Islington, Christchurch | Orion New Zealand Limited | ORON | 26711 | 15443 | 267 | 7130 | 2676 | 411 | 784 | Meridian Energy Ltd | 39.3592 | 120.14 | 32.76% | 53.4374 | 39.4868 | 50.7113 | 32.5771 | 28.6088 | 30.3403 | Winter peak | Plot for ISL0661 | Plot for ISL0661 |  |  |  |  | 0% | most | some | 0%
KAI0111 | KAI | Kaiapoi | 11 | 1 | earlier | 1570672.5414 | 5196748.7614 | -43.3816 | 172.6379 | S | Waimakariri District | Canterbury | Kaiapoi | MainPower NZ Ltd | MPOW | 6971 | 792 | 85 | 5877 | 88 | 129 | 0 | Contact Energy | 11.4535 | 20.874 | 54.87% | 15.7551 | 12.4168 | 11.8805 | 11.6302 | 10.4653 | 8.9748 | Winter peak | Plot for KAI0111 | Plot for KAI0111 |  |  |  |  | 0% | 50% | 35% | 15%
KAW0111 | KAW | Kawerau | 11 | 1 | earlier | 1926537.1763 | 5779107.1041 | -38.0769 | 176.7225 | N | Kawerau District | BOP | Kawerau, near Whakatane | Horizon Energy Distribution Limited | HEDL | 2960 | 21 | 178 | 68 | 72 | 25 | 2596 |  | 14.9025 | 27.324 | 54.54% | 15.815 | 15.2538 | 14.1569 | 15.5501 | 15.5389 | 14.3986 | Winter peak | Plot for KAW0111 | Plot for KAW0111 | Kawerau - BOP, Kawerau - CHH, Kawerau - KA24 |  | SCA Hygiene |  | 0% | little | some | little
KAW0112 | KAW | Kawerau | 11 | 2 | earlier | 1926537.1763 | 5779107.1041 | -38.0769 | 176.7225 | N | Kawerau District | BOP | Kawerau, near Whakatane |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 51.8199 | 91.34 | 56.73% | 49.335 | 50.3869 | 53.7277 | 50.1801 | 49.4125 | 53.8827 | Summer night | Plot for KAW0112 | Plot for KAW0112 |  | Norske Skog
KAW0113 | KAW | Kawerau | 11 | 3 | earlier | 1926537.1763 | 5779107.1041 | -38.0769 | 176.7225 | N | Kawerau District | BOP | Kawerau, near Whakatane |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 67.9257 | 90.046 | 75.43% | 64.8609 | 65.6754 | 70.8865 | 65.8676 | 64.4487 | 70.414 | Winter night | Plot for KAW0113 | Plot for KAW0113 |  | Norske Skog
KEN0331 | KEN | Kensington | 33 | 1 | earlier | 1718620.705 | 6048222.7072 | -35.7028 | 174.3112 | N | Whangarei District | North Isthmus | Whangarei | Northpower Ltd | NPOW | 25993 | 10898 | 8031 | 2773 | 4122 | 163 | 6 | Meridian Energy Ltd | 32.3987 | 58.652 | 55.24% | 41.9111 | 34.71 | 27.3871 | 38.1779 | 35.2487 | 27.6034 | Winter peak | Plot for KEN0331 | Plot for KEN0331 |  |  | Dairy factory |  | 20% | 30% | 30% | 20%
KIK0111 | KIK | Kikiwa | 11 | 1 | earlier | 1589495.6128 | 5386480.4123 | -41.6734 | 172.8738 | S | Tasman District | Nelson Marlborough | Not much | Network Tasman Ltd | TASM | 1032 | 71 | 5 | 908 | 1 | 47 | 0 | Contact Energy | 1.4349 | 2.798 | 51.28% | 1.6171 | 1.3078 | 1.1761 | 1.8221 | 1.6287 | 1.3975 | Summer peak | Plot for KIK0111 | Plot for KIK0111 |  |  | Sawmill |  | 0% | 30% | 20% | 50%
KIN0111 | KIN | Kinleith | 11 | 1 | earlier | 1852211.2973 | 5760026.8837 | -38.2724 | 175.8831 | N | South Waikato District | Waikato | Tokoroa |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 53.6413 | 64.976 | 82.56% | 52.6621 | 52.2501 | 53.1773 | 54.1886 | 53.9509 | 54.8963 | Summer night | Plot for KIN0111 | Plot for KIN0111 |  | Carter Holt Harvey
KIN0112 | KIN | Kinleith | 11 | 2 | earlier | 1852211.2973 | 5760026.8837 | -38.2724 | 175.8831 | N | South Waikato District | Waikato | Tokoroa |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 12.6308 | 18.7 | 67.54% | 12.1609 | 12.0029 | 12.4399 | 12.9059 | 12.748 | 13.1909 | Summer night | Plot for KIN0112 | Plot for KIN0112 |  | Carter Holt Harvey
KIN0331 | KIN | Kinleith | 33 | 1 | earlier | 1852211.2973 | 5760026.8837 | -38.2724 | 175.8831 | N | South Waikato District | Waikato | Tokoroa | Powerco Ltd | POCO | 6512 | 174 | 4265 | 1010 | 789 | 144 | 130 | Genesis Power | 8.9643 | 19.68 | 45.55% | 12.3236 | 10.3503 | 8.0088 | 10.1016 | 9.181 | 6.9849 | Winter peak | Plot for KIN0331 | Plot for KIN0331 |  |  | CHH Kinleith |  | 21% | 46% | 21% | 12%
KKA0331 | KKA | Kaikoura | 33 | 1 | earlier | 1655000.5156 | 5305578.9651 | -42.4001 | 173.6683 | S | Kaikoura District | Canterbury | Kaikoura | MainPower NZ Ltd | MPOW | 2629 | 135 | 40 | 2383 | 21 | 50 | 0 | Contact Energy | 3.8016 | 8.92 | 42.62% | 4.78 | 4.0717 | 3.0585 | 4.6198 | 4.3753 | 3.265 | Winter peak | Plot for KKA0331 | Plot for KKA0331 |  |  |  | Dairy, tourism | 0% | 50% | 15% | 35%
KMO0331 | KMO | Kaitemako | 33 | 1 | 2009-04-01 | 1879236.7066 | 5818328.8314 | -37.7398 | 176.1689 | N | Tauranga City | BOP | Kaitemako | Powerco Ltd | POCO | 7707 | 18 | 705 | 161 | 291 | 6421 | 111 | Trustpower | 4.8995 | 19.104 | 25.65% | 5.1602 | 3.3836 | 3.1105 | 9.0308 | 6.9442 | 6.1743 | Summer peak | Plot for KMO0331 | Plot for KMO0331
KOE0331 | KOE | Kaikohe | 33 | 1 | earlier | 1673592.8239 | 6082724.2224 | -35.3961 | 173.8104 | N | Far North District | North Isthmus | Kaikohe | Top Energy Ltd | TOPE | 19497 | 595 | 562 | 13947 | 1005 | 3388 | 0 | Contact Energy | 13.7133 | 37.158 | 36.91% | 20.8221 | 16.6818 | 11.4098 | 15.7565 | 14.7644 | 9.6337 | Winter peak | Plot for KOE0331 | Plot for KOE0331 | Ngawha
KPU0661 | KPU | Kopu | 66 | 1 | earlier | 1830911.1865 | 5880684.9536 | -37.1918 | 175.6015 | N | Thames-Coromandel District | Waikato | Thames | Powerco Ltd | POCO | 22801 | 626 | 14024 | 2710 | 4979 | 186 | 276 | Genesis Power | 24.2018 | 42.396 | 57.09% | 32.0657 | 26.5668 | 20.2787 | 29.3847 | 26.3706 | 19.685 | Winter peak | Plot for KPU0661 | Plot for KPU0661 |  |  |  |  | 11% | 45% | 24% | 20%
KTA0331 | KTA | Kaitaia | 33 | 1 | earlier | 1624501.9649 | 6112773.1133 | -35.1276 | 173.2689 | N | Far North District | North Isthmus | Kaitaia | Top Energy Ltd | TOPE | 10651 | 276 | 264 | 7995 | 470 | 1646 | 0 | Contact Energy | 15.4827 | 24.098 | 64.25% | 19.0596 | 17.0829 | 14.4676 | 16.5372 | 15.8379 | 13.3093 | Winter peak | Plot for KTA0331 | Plot for KTA0331
KUM0661 | KUM | Kumara | 66 | 1 | earlier | 1452036.3536 | 5278080.8313 | -42.6355 | 171.1953 | S | Westland District | West Coast | Kumara (on road to Arthur's Pass) | Westpower Ltd | WPOW | 517 | 20 | 2 | 34 | 4 | 457 | 0 | Trustpower | 0.20222 | 1.738 | 11.64% | 0.033295 | 0.090255 | 0.35252 | 0.12048 | 0.11672 | 0.27371 | Winter night | Plot for KUM0661 | Plot for KUM0661 | Dillmans |  |  |  | 0% | 40% | 15% | 45%
KWA0111 | KWA | Kaiwharawhara | 11 | 1 | earlier | 1750006.6566 | 5430939.0934 | -41.2591 | 174.7906 | N | Wellington City | Wellington | Kaiwharawhara, Wellington | Wellington Electricity Lines Limited | CKHK | 5428 | 452 | 2709 | 1153 | 362 | 164 | 588 | Genesis Power | 17.7166 | 42.982 | 41.22% | 22.4503 | 22.4527 | 14.6415 | 19.6414 | 21.082 | 13.3444 | Winter daytime | Plot for KWA0111 | Plot for KWA0111
LFD1101 | LFD | Lichfield | 110 | 1 | earlier | 1847530.4745 | 5775580.4703 | -38.1337 | 175.8242 | N | South Waikato District | Waikato | Putaruru (west of Rotorua) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2.1535 | 7.98 | 26.99% | 1.2675 | 1.3285 | 1.2544 | 3.0107 | 3.0762 | 3.0206 | Summer daytime | Plot for LFD1101 | Plot for LFD1101 |  | Fonterra
LFD1102 | LFD | Lichfield | 110 | 2 | earlier | 1847530.4745 | 5775580.4703 | -38.1337 | 175.8242 | N | South Waikato District | Waikato | Putaruru (west of Rotorua) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2.2084 | 8.194 | 26.95% | 1.3015 | 1.3195 | 1.2333 | 3.1682 | 3.2197 | 3.1009 | Summer daytime | Plot for LFD1102 | Plot for LFD1102 |  | Fonterra
LTN0331 | LTN | Linton | 33 | 1 | earlier | 1823274.642 | 5523361.0713 | -40.4104 | 175.6314 | N | Palmerston North City | Central | Palmerston North | Powerco Ltd | POCO | 15942 | 888 | 8708 | 3262 | 2949 | 68 | 67 | Genesis Power | 14.9277 | 59.592 | 25.05% | 23.3301 | 18.9319 | 14.4209 | 14.2535 | 14.5053 | 9.9286 | Winter peak | Plot for LTN0331 | Plot for LTN0331 |  |  | Fonterra Longburn |  | 16% | 32% | 39% | 13%
MAT1101 | MAT | Matahina | 110 | 1 | earlier | 1934454.7087 | 5774724.553 | -38.1134 | 176.8146 | N | Whakatane District | BOP | Kawerau, near Whakatane |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0015587 | 3.49 | 0.04466% | 8.5445e-05 | 0.00013989 | 0.0023508 | 0.00011336 | 0.00050882 | 0.0034442 | Summer night | Plot for MAT1101 | Plot for MAT1101 | Aniwhenua |  |  | Dairy & irrigation | 0% | little | little | some
MCH0111 | MCH | Murchison | 11 | 1 | earlier | 1544891.2146 | 5373459.8152 | -41.7888 | 172.3368 | S | Tasman District | Nelson Marlborough | Murchison | Network Tasman Ltd | TASM | 852 | 103 | 19 | 697 | 2 | 31 | 0 | Contact Energy | 1.2551 | 2.558 | 49.07% | 1.4455 | 1.2288 | 1.0224 | 1.5775 | 1.4366 | 1.1695 | Summer peak | Plot for MCH0111 | Plot for MCH0111 |  |  |  | Dairy | 0% | 30% | 0% | 70%
MER0331 | MER | Meremere | 33 | 1 | earlier | 1783293.9344 | 5868195.0378 | -37.3148 | 175.0685 | N | Waikato District | Auckland | North of Huntly on SH1 | WEL Networks | WAIK | 2597 | 57 | 2043 | 224 | 246 | 25 | 2 | Genesis Power | 4.2533 | 8.8 | 48.33% | 5.5405 | 4.7933 | 3.7788 | 4.8553 | 4.4767 | 3.4467 | Winter peak | Plot for MER0331 | Plot for MER0331 |  |  |  | Mining, dairy
MGM0331 | MGM | Mangamaire | 33 | 1 | earlier | 1833110.0144 | 5511186.847 | -40.5173 | 175.7516 | N | Tararua District | Central | Pahiatua (near Tui factory) | Powerco Ltd | POCO | 4312 | 412 | 3405 | 435 | 31 | 29 | 0 | Genesis Power | 7.0954 | 11.192 | 63.4% | 7.6102 | 6.837 | 5.8877 | 8.53 | 8.1026 | 7.0088 | Summer peak | Plot for MGM0331 | Plot for MGM0331 |  |  | Tui Milk Products |  | 5% | 30% | 43% | 22%
MHO0331 | MHO | Mangahao | 33 | 1 | earlier | 1807278.6273 | 5505363.9681 | -40.5766 | 175.4489 | N | Horowhenua District | Central | Shannon | ElectraLines | ELEC | 16204 | 613 | 6561 | 8639 | 274 | 115 | 2 | Contact Energy | 19.4925 | 43.768 | 44.54% | 26.4845 | 23.0005 | 16.9372 | 21.9088 | 20.9993 | 15.0082 | Winter peak | Plot for MHO0331 | Plot for MHO0331 |  |  |  |  | 0% | 92% | 4% | 4%
MLG0111 | MLG | Melling | 11 | 1 | earlier | 1760651.7343 | 5437235.4577 | -41.2003 | 174.916 | N | Lower Hutt City | Wellington | Melling, Lower Hutt | Wellington Electricity Lines Limited | CKHK | 6767 | 403 | 4876 | 670 | 575 | 132 | 111 | Genesis Power | 12.912 | 28.934 | 44.63% | 18.0116 | 16.3922 | 11.4818 | 13.4886 | 14.0925 | 9.204 | Winter peak | Plot for MLG0111 | Plot for MLG0111
MLG0331 | MLG | Melling | 33 | 1 | earlier | 1760651.7343 | 5437235.4577 | -41.2003 | 174.916 | N | Lower Hutt City | Wellington | Melling, Lower Hutt | Wellington Electricity Lines Limited | CKHK | 15622 | 951 | 11006 | 1677 | 1483 | 220 | 285 | Genesis Power | 22.0987 | 46.1 | 47.94% | 31.272 | 27.6432 | 20.3711 | 22.6789 | 22.8384 | 15.9285 | Winter peak | Plot for MLG0331 | Plot for MLG0331
MLN0661 | MLN | Middleton | 66 | 1 | 2008-02-02 | 1565069.0568 | 5179028.3923 | -43.5409 | 172.5676 | S | Christchurch City | Canterbury | Sockburn, Christchurch | Orion New Zealand Limited | ORON | 2299 | 1401 | 27 | 578 | 130 | 126 | 37 | Meridian Energy Ltd | 6.7626 | 19.822 | 34.12% | 7.0493 | 7.5669 | 5.5492 | 7.6431 | 8.6001 | 6.0718 | Summer daytime | Plot for MLN0661 | Plot for MLN0661 |  |  |  |  | 0% | some | some | 0%
MLN0664 | MLN | Middleton | 66 | 4 | 2008-04-12 | 1565069.0568 | 5179028.3923 | -43.5409 | 172.5676 | S | Christchurch City | Canterbury | Sockburn, Christchurch |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 6.8482 | 22.656 | 30.23% | 7.6244 | 8.3277 | 5.8697 | 7.2127 | 8.0368 | 5.7987 | Winter daytime | Plot for MLN0664 | Plot for MLN0664
MNG0331 | MNG | Mangere | 33 | 1 | earlier | 1762701.1413 | 5907698.5097 | -36.9628 | 174.8276 | N | Manukau City | Auckland | Mangere, Auckland | Vector Limited | VECT | 24404 | 218 | 1768 | 4457 | 17553 | 194 | 214 | Mighty River Power Limited | 57.3676 | 98.344 | 58.33% | 71.6688 | 67.5799 | 50.7365 | 61.0881 | 63.7061 | 46.7501 | Winter peak | Plot for MNG0331 | Plot for MNG0331 | Watercare Mangere
MNG1101 | MNG | Mangere | 110 | 1 | earlier | 1762701.1413 | 5907698.5097 | -36.9628 | 174.8276 | N | Manukau City | Auckland | Mangere, Auckland |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 21.8079 | 50.42 | 43.25% | 23.6668 | 24.1665 | 24.0491 | 19.4288 | 19.7871 | 19.6033 | Winter daytime | Plot for MNG1101 | Plot for MNG1101 |  | Pacific Steel
MNI0111 | MNI | Motunui | 11 | 1 | earlier | 1711558.6261 | 5683112.8235 | -38.9939 | 174.2882 | N | New Plymouth District | Taranaki | East of New Plymouth |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0792 | 7.842 | 13.76% | 0.95492 | 0.98585 | 0.92239 | 1.2005 | 1.2234 | 1.2109 | Summer daytime | Plot for MNI0111 | Plot for MNI0111 |  |  | Methanex |  | 0% | 0% | 100% | 0%
MOT0111 | MOT | Motueka | 11 | 1 | earlier | 1598332.9072 | 5445933.0788 | -41.1379 | 172.9801 | S | Tasman District | Nelson Marlborough | Motueka | Network Tasman Ltd | TASM | 6983 | 439 | 37 | 6327 | 18 | 160 | 2 | Contact Energy | 10.4374 | 18.664 | 55.92% | 14.1771 | 11.6307 | 9.6814 | 11.5809 | 10.5899 | 8.2192 | Winter peak | Plot for MOT0111 | Plot for MOT0111 |  |  | Fish processor |  | 0% | 25% | 35% | 40%
MPE0331 | MPE | Maungatapere | 33 | 1 | earlier | 1709123.205 | 6041295.561 | -35.7663 | 174.2072 | N | Whangarei District | North Isthmus | Maungatapere (west of Whangarei) | Northpower Ltd | NPOW | 9294 | 3949 | 2553 | 1072 | 1606 | 113 | 1 | Meridian Energy Ltd | 24.3605 | 52.516 | 46.39% | 29.0284 | 27.7729 | 21.2985 | 26.4648 | 27.0371 | 21.0163 | Winter peak | Plot for MPE0331 | Plot for MPE0331 | Wairua Falls |  |  |  | some | some | most | some
MPI0661 | MPI | Motupipi | 66 | 1 | 2003-11-13 | 1586764.828 | 5476729.9678 | -40.8604 | 172.843 | S | Tasman District | Nelson Marlborough | Motupipi (north of Takaka) | Network Tasman Ltd | TASM | 3234 | 272 | 28 | 2879 | 6 | 48 | 1 | Contact Energy | 3.6967 | 7.164 | 51.6% | 4.0316 | 3.6325 | 2.8556 | 4.4987 | 4.5463 | 3.5946 | Summer daytime | Plot for MPI0661 | Plot for MPI0661 | Onekaka |  |  |  | 0% | 35% | 15% | 50%
MRA0111 | MRA | Moturoa | 11 | 1 | earlier | 1690017.3707 | 5675512.2781 | -39.0648 | 174.0405 | N | New Plymouth District | Taranaki | New Plymouth | Powerco Ltd | POCO | 9390 | 280 | 5966 | 1049 | 1695 | 249 | 151 | Genesis Power | 10.1527 | 20.156 | 50.37% | 13.512 | 10.9661 | 9.2569 | 11.1488 | 10.4914 | 8.4235 | Winter peak | Plot for MRA0111 | Plot for MRA0111 |  |  |  |  | 0% | 60% | 28% | 12%
MST0331 | MST | Masterton | 33 | 1 | earlier | 1819715.0682 | 5460481.953 | -40.9773 | 175.6115 | N | Carterton District | Wellington | Masterton | Powerco Ltd | POCO | 16638 | 1019 | 11850 | 3473 | 55 | 145 | 96 | Genesis Power | 24.3574 | 40.718 | 59.82% | 30.3564 | 26.9266 | 23.6213 | 25.2214 | 25.0909 | 20.1443 | Winter peak | Plot for MST0331 | Plot for MST0331 |  |  |  |  | 8% | 29% | 33% | 30%
MTM0111 | MTM | Mt Maunganui | 11 | 1 | earlier | 1883468.5881 | 5825060.5282 | -37.6779 | 176.2142 | N | Tauranga City | BOP | Mt Maunganui | Powerco Ltd | POCO | 5976 | 30 | 601 | 128 | 277 | 4856 | 84 | Trustpower | 9.3679 | 19.196 | 48.8% | 12.6848 | 11.8152 | 7.7407 | 10.4374 | 10.957 | 6.7929 | Winter peak | Plot for MTM0111 | Plot for MTM0111 | Ballance Agri |  |  |  | 0% | 35% | 65% | 0%
MTM0331 | MTM | Mt Maunganui | 33 | 1 | earlier | 1883468.5881 | 5825060.5282 | -37.6779 | 176.2142 | N | Tauranga City | BOP | Mt Maunganui | Powerco Ltd | POCO | 15326 | 76 | 1725 | 327 | 731 | 12168 | 299 | Trustpower | 21.1712 | 45.496 | 46.53% | 28.3516 | 24.5058 | 19.4923 | 22.4725 | 21.9621 | 16.7132 | Winter peak | Plot for MTM0331 | Plot for MTM0331 |  |  |  |  | 2% | 41% | 53% | 4%
MTN0331 | MTN | Marton | 33 | 1 | earlier | 1801209.4133 | 5558165.8745 | -40.1028 | 175.3606 | N | Rangitikei District | Central | Marton | Powerco Ltd | POCO | 5997 | 280 | 4731 | 582 | 291 | 112 | 1 | Genesis Power | 9.4428 | 15.606 | 60.51% | 11.7101 | 10.3881 | 8.2327 | 10.5854 | 10.3124 | 8.1053 | Winter peak | Plot for MTN0331 | Plot for MTN0331 |  |  |  |  | 3% | 28% | 24% | 45%
MTO0331 | MTO | Maungaturoto | 33 | 1 | earlier | 1722369.8039 | 6005586.4765 | -36.0866 | 174.3592 | N | Kaipara District | North Isthmus | Maungaturoto (south of Whangarei) | Northpower Ltd | NPOW | 8221 | 3454 | 1695 | 1036 | 1954 | 76 | 6 | Meridian Energy Ltd | 9.5306 | 16.552 | 57.58% | 11.0378 | 9.2051 | 7.422 | 12.2315 | 10.8088 | 9.2011 | Summer peak | Plot for MTO0331 | Plot for MTO0331 |  |  |  | Dairy | 0% | 40% | 30% | 30%
MTR0331 | MTR | Mataroa | 33 | 1 | earlier | 1831797.5023 | 5606724.0485 | -39.6579 | 175.7019 | N | Rangitikei District | Central | Taihape | Powerco Ltd | POCO | 2955 | 202 | 2384 | 231 | 41 | 90 | 7 | Genesis Power | 4.3645 | 7.656 | 57.01% | 5.7494 | 5.1435 | 4.1802 | 4.4614 | 4.3896 | 3.4303 | Winter peak | Plot for MTR0331 | Plot for MTR0331 |  |  |  | Taihape township | 0% | 40% | 20% | 40%
NMA0331 | NMA | North Makarewa | 33 | 1 | earlier | 1242675.6276 | 4861550.9251 | -46.3054 | 168.3595 | S | Southland District | Otago Southland | Makarewa (north of Invercargill) | The Power Company Ltd | TPCO | 14183 | 1318 | 945 | 10968 | 237 | 715 | 0 | Contact Energy | 19.7063 | 55.674 | 35.4% | 25.1302 | 21.7153 | 17.9128 | 22.5637 | 20.8437 | 15.9921 | Winter peak | Plot for NMA0331 | Plot for NMA0331 | Monowai
NPK0331 | NPK | National Park | 33 | 1 | earlier | 1807257.7987 | 5662947.4774 | -39.158 | 175.3987 | N | Ruapehu District | Central | National Park Village | The Lines Company | LINE | 848 | 13 | 79 | 0 | 5 | 0 | 751 |  | 2.0563 | 6.744 | 30.49% | 2.9978 | 2.673 | 2.441 | 1.6753 | 1.5645 | 1.342 | Winter peak | Plot for NPK0331 | Plot for NPK0331 |  |  | Skifield |  | 0% | 30% | 70% | 0%
NSY0331 | NSY | Naseby | 33 | 1 | earlier | 1371043.9081 | 5009255.792 | -45.0332 | 170.0934 | S | Central Otago District | Otago Southland | Naseby (which is near Ranfurly) | Otago Power Ltd | OTPO | 2425 | 432 | 35 | 124 | 21 | 1812 | 1 | Trustpower | 16.2983 | 26.816 | 60.78% | 15.2507 | 14.6257 | 14.8015 | 18.0608 | 17.6834 | 17.6355 | Summer peak | Plot for NSY0331 | Plot for NSY0331 | Falls Dam |  | Gold mine | Irrigation | 0% | some | 75% | some
OAM0331 | OAM | Oamaru | 33 | 1 | earlier | 1436052.0885 | 5007248.8313 | -45.0692 | 170.9173 | S | Waitaki District | Otago Southland | Oamaru | Network Waitaki Ltd | WATA | 10393 | 8686 | 123 | 1183 | 93 | 308 | 0 | Meridian Energy Ltd | 21.7742 | 37.552 | 57.98% | 24.1499 | 22.6592 | 18.5625 | 24.56 | 24.7567 | 20.5324 | Summer daytime | Plot for OAM0331 | Plot for OAM0331 |  |  | Freezing works |  | 25% | 25% | 25% | 25%
OKI0111 | OKI | Ohaaki | 11 | 1 | earlier | 1886998.7435 | 5730457.4977 | -38.528 | 176.2922 | N | Taupo District | Waikato | Northeast of Taupo | Unison Network Ltd | HAWK | 652 | 8 | 175 | 20 | 130 | 309 | 10 | Trustpower | 1.6861 | 4.738 | 35.59% | 1.657 | 1.4623 | 1.1725 | 2.2869 | 2.0295 | 1.8758 | Summer peak | Plot for OKI0111 | Plot for OKI0111 |  | Contact Energy (Ohaaki)
OKN0111 | OKN | Ohakune | 11 | 1 | earlier | 1803835.949 | 5633197.7089 | -39.4267 | 175.3681 | N | Ruapehu District | Central | Ohakune | The Lines Company | LINE | 3019 | 98 | 1185 | 84 | 25 | 28 | 1599 |  | 1.6009 | 8.018 | 19.97% | 2.3626 | 2.0137 | 1.7207 | 1.4539 | 1.3308 | 1.1192 | Winter peak | Plot for OKN0111 | Plot for OKN0111
ONG0331 | ONG | Ongarue | 33 | 1 | earlier | 1789595.8327 | 5709188.1299 | -38.7457 | 175.1816 | N | Ruapehu District | Central | Ongarue (west of Lake Taupo) | The Lines Company | LINE | 4748 | 89 | 699 | 2 | 14 | 0 | 3944 |  | 1.7072 | 10.558 | 16.17% | 2.2402 | 1.7033 | 2.1123 | 1.1528 | 1.0808 | 1.6506 | Winter peak | Plot for ONG0331 | Plot for ONG0331 | Kuratau |  |  |  | 0% | 90% | 0% | 10%
OPK0331 | OPK | Opunake | 33 | 1 | earlier | 1672904.694 | 5633141.44 | -39.4482 | 173.8473 | N | South Taranaki District | Taranaki | Opunake (west side of Taranaki) | Powerco Ltd | POCO | 3027 | 77 | 2419 | 153 | 207 | 163 | 8 | Genesis Power | 5.3313 | 10.556 | 50.51% | 5.514 | 4.8391 | 4.6543 | 6.4643 | 5.5655 | 5.549 | Summer peak | Plot for OPK0331 | Plot for OPK0331 |  |  |  | Dairy | 0% | 43% | 18% | 39%
ORO1101 | ORO | Orowaiti | 110 | 1 | 2004-09-01 | 1486418.5742 | 5375555.7183 | -41.7637 | 171.6336 | S | Buller District | West Coast | Westport | Buller Electricity Ltd | BUEL | 2287 | 434 | 35 | 454 | 4 | 1360 | 0 | Trustpower | 2.4082 | 7.148 | 33.69% | 3.0966 | 2.6833 | 2.2085 | 2.602 | 2.4385 | 2.0369 | Winter peak | Plot for ORO1101 | Plot for ORO1101 |  |  |  |  | 25% | 25% | 25% | 25%
ORO1102 | ORO | Orowaiti | 110 | 2 | 2004-09-01 | 1486418.5742 | 5375555.7183 | -41.7637 | 171.6336 | S | Buller District | West Coast | Westport | Buller Electricity Ltd | BUEL | 1657 | 292 | 27 | 219 | 12 | 1106 | 1 | Trustpower | 2.4252 | 7.944 | 30.53% | 3.0867 | 2.6758 | 2.1929 | 2.6648 | 2.5136 | 2.06 | Winter peak | Plot for ORO1102 | Plot for ORO1102 |  |  |  |  | 25% | 25% | 25% | 25%
OTA0221 | OTA | Otahuhu | 22 | 1 | earlier | 1765826.385 | 5908533.6272 | -36.9547 | 174.8625 | N | Manukau City | Auckland | Otara, Auckland | Vector Limited | VECT | 18356 | 126 | 1214 | 3032 | 13785 | 102 | 97 | Mighty River Power Limited | 25.9778 | 55.364 | 46.92% | 34.8314 | 32.2979 | 21.7851 | 28.3987 | 29.8872 | 19.4478 | Winter peak | Plot for OTA0221 | Plot for OTA0221 | Greenmount Landfill | Contact Energy (Otahuhu)
OTI0111 | OTI | Otira | 11 | 1 | earlier | 1482627.2757 | 5256885.3319 | -42.8316 | 171.5639 | S | Westland District | West Coast | Otira (north of Arthur's Pass) | Westpower Ltd | WPOW | 40 | 6 | 0 | 8 | 0 | 26 | 0 | Trustpower | 0.20324 | 0.746 | 27.24% | 0.21322 | 0.21583 | 0.20743 | 0.18833 | 0.20624 | 0.19278 | Winter daytime | Plot for OTI0111 | Plot for OTI0111 |  |  | Tranz Rail |  | 0% | 5% | 95% | 0%
OWH0111 | OWH | Owhata | 11 | 1 | earlier | 1891300.2053 | 5774549.0168 | -38.1299 | 176.3233 | N | Rotorua District | BOP | Owhata, near Rotorua | Unison Network Ltd | HAWK | 5358 | 35 | 1697 | 284 | 639 | 2481 | 222 | Trustpower | 7.8295 | 15.318 | 51.11% | 10.7253 | 8.4251 | 7.6772 | 8.4137 | 7.3048 | 6.3418 | Winter peak | Plot for OWH0111 | Plot for OWH0111
PAK0331 | PAK | Pakuranga | 33 | 1 | earlier | 1769812.1357 | 5911645.4542 | -36.9259 | 174.9066 | N | Manukau City | Auckland | Pakuranga, Auckland | Vector Limited | VECT | 38455 | 486 | 2759 | 4612 | 30248 | 172 | 178 | Mighty River Power Limited | 70.023 | 141.756 | 49.4% | 97.7897 | 81.2799 | 63.6821 | 75.8826 | 73.6638 | 52.8286 | Winter peak | Plot for PAK0331 | Plot for PAK0331
PAL0331 | PAL | Palmerston | 33 | 1 | earlier | 1419240.9146 | 4960494.1305 | -45.4857 | 170.6869 | S | Waitaki District | Otago Southland | Palmerston, Otago | Otago Power Ltd | OTPO | 3229 | 472 | 30 | 439 | 66 | 2222 | 0 | Trustpower | 4.2173 | 8.116 | 51.96% | 5.1478 | 4.4537 | 4.0965 | 4.3197 | 4.1845 | 3.7526 | Winter peak | Plot for PAL0331 | Plot for PAL0331 |  |  |  |  | 0% | 75% | some | some
PAP0111 | PAP | Papanui | 11 | 1 | earlier | 1567021.1179 | 5184375.4144 | -43.4928 | 172.5921 | S | Christchurch City | Canterbury | Papanui, Christchurch | Orion New Zealand Limited | ORON | 16049 | 8928 | 262 | 4797 | 1534 | 291 | 237 | Meridian Energy Ltd | 35.5253 | 67.786 | 52.41% | 46.4635 | 38.2706 | 38.9137 | 33.9025 | 32.4736 | 27.9911 | Winter peak | Plot for PAP0111 | Plot for PAP0111 |  |  |  |  | 0% | some | most | 0%
PAP0661 | PAP | Papanui | 66 | 1 | earlier | 1567021.1179 | 5184375.4144 | -43.4928 | 172.5921 | S | Christchurch City | Canterbury | Papanui, Christchurch | Orion New Zealand Limited | ORON | 13372 | 7530 | 158 | 3991 | 1205 | 246 | 242 | Meridian Energy Ltd | 19.5938 | 47.018 | 41.67% | 27.8794 | 21.2541 | 23.0912 | 17.4857 | 15.6229 | 14.4815 | Winter peak | Plot for PAP0661 | Plot for PAP0661 |  |  |  |  | 0% | some | most | 0%
PEN0221 | PEN | Penrose | 22 | 1 | earlier | 1761811.3234 | 5914199.4303 | -36.9043 | 174.8162 | N | Auckland City | Auckland | Penrose, Auckland | Vector Limited | VECT | 19482 | 320 | 1473 | 3290 | 13075 | 144 | 1180 | Mighty River Power Limited | 34.6956 | 64.26 | 53.99% | 43.6517 | 42.2399 | 30.2344 | 36.9915 | 39.6105 | 27.2346 | Winter peak | Plot for PEN0221 | Plot for PEN0221
PEN0331 | PEN | Penrose | 33 | 1 | earlier | 1761811.3234 | 5914199.4303 | -36.9043 | 174.8162 | N | Auckland City | Auckland | Penrose, Auckland | Vector Limited | VECT | 66696 | 1239 | 5405 | 10961 | 47660 | 374 | 1057 | Mighty River Power Limited | 75.5897 | 280.672 | 26.93% | 98.7485 | 90.8617 | 67.5086 | 80.1879 | 83.8898 | 58.1342 | Winter peak | Plot for PEN0331 | Plot for PEN0331 | Auckland District Hospital
PEN1101 | PEN | Penrose | 110 | 1 | earlier | 1761811.3234 | 5914199.4303 | -36.9043 | 174.8162 | N | Auckland City | Auckland | Penrose, Auckland | Vector Limited | VECT | 27658 | 550 | 2398 | 3942 | 12336 | 247 | 8185 | Mighty River Power Limited | 85.14 | 208.154 | 40.9% | 100.5717 | 107.0121 | 67.5733 | 96.3856 | 108.1084 | 66.1851 | Summer daytime | Plot for PEN1101 | Plot for PEN1101
PNI0331 | PNI | Pauatahanui | 33 | 1 | earlier | 1761102.7645 | 5447294.0405 | -41.1097 | 174.9187 | N | Porirua City | Wellington | Porirua | Wellington Electricity Lines Limited | CKHK | 7021 | 604 | 4709 | 981 | 523 | 112 | 92 | Genesis Power | 8.6023 | 20.75 | 41.46% | 13.2413 | 9.2294 | 8.7608 | 8.9712 | 7.3249 | 6.4895 | Winter peak | Plot for PNI0331 | Plot for PNI0331
PRM0331 | PRM | Paraparaumu | 33 | 1 | earlier | 1769433.1305 | 5467578.3783 | -40.9254 | 175.0123 | N | Kapiti Coast District | Wellington | Paraparaumu | ElectraLines | ELEC | 25942 | 1007 | 12968 | 11151 | 688 | 126 | 2 | Genesis Power | 29.6608 | 62.784 | 47.24% | 42.9991 | 34.4379 | 27.7098 | 31.8972 | 29.2034 | 22.1044 | Winter peak | Plot for PRM0331 | Plot for PRM0331 |  |  |  |  | 0% | 92% | 4% | 4%
RDF0331 | RDF | Redclyffe | 33 | 1 | earlier | 1928301.7724 | 5615034.7165 | -39.5516 | 176.8207 | N | Napier City | Hawkes Bay | Napier | Unison Network Ltd | HAWK | 21733 | 394 | 9189 | 11162 | 101 | 886 | 1 | Contact Energy | 32.1695 | 68.436 | 47.01% | 44.8568 | 37.1081 | 28.2173 | 35.9409 | 33.9644 | 24.9113 | Winter peak | Plot for RDF0331 | Plot for RDF0331 | Ravensdown
RFN1101 | RFN | Reefton | 110 | 1 | 2005-10-19 | 1504534.8777 | 5340444.2825 | -42.0823 | 171.8458 | S | Buller District | West Coast | Reefton | Westpower Ltd | WPOW | 700 | 41 | 9 | 79 | 6 | 565 | 0 | Trustpower | 1.7547 | 7.122 | 24.64% | 2.0374 | 1.904 | 1.8253 | 1.7301 | 1.6573 | 1.5683 | Winter peak | Plot for RFN1101 | Plot for RFN1101 |  |  | Gold mine |  | 0% | 20% | 60% | 20%
RFN1102 | RFN | Reefton | 110 | 2 | 2005-10-19 | 1504534.8777 | 5340444.2825 | -42.0823 | 171.8458 | S | Buller District | West Coast | Reefton | Westpower Ltd | WPOW | 541 | 50 | 5 | 46 | 1 | 439 | 0 | Trustpower | 2.6732 | 7.82 | 34.18% | 2.9439 | 2.9008 | 2.6447 | 2.7396 | 2.6843 | 2.4417 | Winter peak | Plot for RFN1102 | Plot for RFN1102
ROS0221 | ROS | Mt Roskill | 22 | 1 | earlier | 1753727.7087 | 5913297.4354 | -36.9138 | 174.7257 | N | Auckland City | Auckland | Mt Roskill, Auckland | Vector Limited | VECT | 40335 | 557 | 3166 | 6299 | 29658 | 153 | 502 | Mighty River Power Limited | 48.5662 | 108.984 | 44.56% | 70.6735 | 56.8982 | 46.1455 | 50.9959 | 47.6479 | 35.6721 | Winter peak | Plot for ROS0221 | Plot for ROS0221
ROS1101 | ROS | Mt Roskill | 110 | 1 | earlier | 1753727.7087 | 5913297.4354 | -36.9138 | 174.7257 | N | Auckland City | Auckland | Mt Roskill, Auckland | Vector Limited | VECT | 21686 | 639 | 2155 | 4482 | 13280 | 112 | 1018 | Mighty River Power Limited | 61.254 | 181.596 | 33.73% | 78.9046 | 75.7516 | 52.5041 | 66.518 | 71.3829 | 46.1312 | Winter peak | Plot for ROS1101 | Plot for ROS1101
ROT0111 | ROT | Rotorua | 11 | 1 | earlier | 1882788.9566 | 5772796.1192 | -38.1484 | 176.227 | N | Rotorua District | BOP | Rotorua | Unison Network Ltd | HAWK | 10699 | 82 | 3915 | 755 | 1566 | 3999 | 382 | Trustpower | 15.622 | 36.9 | 42.34% | 22.5605 | 18.4424 | 14.1724 | 17.0638 | 15.6914 | 11.6515 | Winter peak | Plot for ROT0111 | Plot for ROT0111 | Fletcher Forests
ROT0331 | ROT | Rotorua | 33 | 1 | earlier | 1882788.9566 | 5772796.1192 | -38.1484 | 176.227 | N | Rotorua District | BOP | Rotorua | Unison Network Ltd | HAWK | 10912 | 104 | 3397 | 623 | 1762 | 4594 | 432 | Trustpower | 23.0401 | 44.962 | 51.24% | 27.5345 | 26.6604 | 18.8989 | 26.3516 | 27.332 | 19.3184 | Winter peak | Plot for ROT0331 | Plot for ROT0331 | Assorted, up to 2.5MW
SBK0331 | SBK | Southbrook | 33 | 1 | earlier | 1567464.7552 | 5202756.5294 | -43.3273 | 172.5987 | S | Waimakariri District | Canterbury | Rangiora | MainPower NZ Ltd | MPOW | 14980 | 1347 | 283 | 12978 | 97 | 275 | 0 | Contact Energy | 22.2723 | 38.864 | 57.31% | 28.2391 | 22.0673 | 20.2505 | 25.6291 | 23.1749 | 19.6405 | Winter peak | Plot for SBK0331 | Plot for SBK0331 |  |  |  | Dairy, irrigation, lifestyle | 0% | 50% | 10% | 40%
SDN0331 | SDN | South Dunedin | 33 | 1 | earlier | 1406621.526 | 4915070.588 | -45.8907 | 170.5075 | S | Dunedin City | Otago Southland | South Dunedin | Aurora Energy Ltd | DUNE | 16689 | 1887 | 184 | 8494 | 2354 | 3571 | 199 | Contact Energy | 36.4027 | 72.214 | 50.41% | 51.6119 | 47.3576 | 34.0513 | 36.7751 | 36.6121 | 25.5194 | Winter peak | Plot for SDN0331 | Plot for SDN0331 |  |  | Otago University | Includes part of Dunedin CBD | 45% | 25% | 30% | 0%
SFD0331 | SFD | Stratford | 33 | 1 | earlier | 1713800.6238 | 5645312.8059 | -39.3341 | 174.3204 | N | Stratford District | Taranaki | Stratford | Powerco Ltd | POCO | 8165 | 206 | 6190 | 574 | 770 | 370 | 55 | Genesis Power | 14.426 | 23.242 | 62.07% | 16.7227 | 14.5963 | 12.5066 | 17.3928 | 15.4736 | 13.2767 | Summer peak | Plot for SFD0331 | Plot for SFD0331 |  | Contact Energy (Stratford) |  |  | 2% | 32% | 38% | 28%
SFD2201 | SFD | Stratford | 220 | 1 | earlier | 1713800.6238 | 5645312.8059 | -39.3341 | 174.3204 | N | Stratford District | Taranaki | Stratford |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.1741 | 9.7 | 1.795% | 0.0775 | 0.082927 | 0.089974 | 0.25946 | 0.26323 | 0.26524 | Summer night | Plot for SFD2201 | Plot for SFD2201
SPN0331 | SPN | Springston | 33 | 1 | earlier | 1555631.2633 | 5168223.9203 | -43.6377 | 172.4499 | S | Selwyn District | Canterbury | Lincoln | Orion New Zealand Limited | ORON | 17232 | 11037 | 566 | 3507 | 1475 | 409 | 238 | Meridian Energy Ltd | 28.2462 | 51.216 | 55.15% | 31.8057 | 25.0186 | 25.4583 | 31.9979 | 29.7558 | 28.6262 | Summer peak | Plot for SPN0331 | Plot for SPN0331 |  |  |  | Irrigation | 0% | some | little | most
SPN0661 | SPN | Springston | 66 | 1 | 2008-03-31 | 1555631.2633 | 5168223.9203 | -43.6377 | 172.4499 | S | Selwyn District | Canterbury | Lincoln | Orion New Zealand Limited | ORON | 1519 | 990 | 36 | 269 | 138 | 69 | 17 | Meridian Energy Ltd | 3.496 | 15.656 | 22.33% | 2.2143 | 2.0489 | 1.7324 | 5.5132 | 5.4036 | 5.3001 | Summer peak | Plot for SPN0661 | Plot for SPN0661 |  |  | Lincoln University | Irrigation | 0% | some | little | most
STK0331 | STK | Stoke | 33 | 1 | earlier | 1620404.2722 | 5426289.0574 | -41.3146 | 173.2438 | S | Nelson City | Nelson Marlborough | Stoke (near Nelson) | Network Tasman Ltd | TASM | 32898 | 2266 | 341 | 23424 | 68 | 6799 | 0 | Contact Energy | 70.4204 | 121.95 | 57.75% | 94.0054 | 81.5877 | 67.3648 | 72.9879 | 71.0301 | 55.0506 | Winter peak | Plot for STK0331 | Plot for STK0331 |  |  | Nelson Pine Industries, Sealords |  | 10% | 30% | 55% | 5%
STU0111 | STU | Studholme | 11 | 1 | earlier | 1452573.5694 | 5045117.7478 | -44.7321 | 171.1381 | S | Waimate District | Otago Southland | Waimate | Alpine Energy | ALPE | 3603 | 456 | 331 | 2394 | 19 | 403 | 0 | Contact Energy | 8.0635 | 17.62 | 45.76% | 7.993 | 7.4294 | 6.1185 | 9.9556 | 9.9491 | 8.5056 | Summer peak | Plot for STU0111 | Plot for STU0111 |  |  | NZDL dairy factory | Irrigation, dairy, Waimate township, timber processing | 0% | 15% | 25% | 60%
SVL0331 | SVL | Silverdale | 33 | 1 | 2003-12-05 | 1750532.8089 | 5945568.1242 | -36.6235 | 174.6835 | N | Rodney District | North Isthmus | Silverdale | United Networks Ltd | UNET | 26556 | 566 | 12654 | 5425 | 7619 | 136 | 156 | Genesis Power | 27.066 | 70.696 | 38.29% | 43.2735 | 31.371 | 24.2748 | 30.622 | 26.4324 | 18.78 | Winter peak | Plot for SVL0331 | Plot for SVL0331 | Redvale
SWN2201 | SWN | Southdown | 220 | 1 | earlier | 1761582.0671 | 5911314.1299 | -36.9304 | 174.8143 | N | Auckland City | Auckland | Southdown, Auckland |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.45446 | 3.88 | 11.71% | 0.19477 | 0.21837 | 0.49072 | 0.4719 | 0.45113 | 0.65983 | Summer night | Plot for SWN2201 | Plot for SWN2201
TAK0331 | TAK | Takanini | 33 | 1 | earlier | 1771965.8235 | 5899056.6957 | -37.039 | 174.9336 | N | Papakura District | Auckland | Takanini, Auckland | Vector Limited | VECT | 43784 | 507 | 2951 | 6807 | 33066 | 310 | 143 | Mighty River Power Limited | 56.7294 | 116.972 | 48.5% | 81.1995 | 65.1398 | 51.4746 | 62.0478 | 57.2927 | 43.4251 | Winter peak | Plot for TAK0331 | Plot for TAK0331 | Whitford Landfill
TGA0111 | TGA | Tauranga | 11 | 1 | earlier | 1875942.0422 | 5819814.4839 | -37.7274 | 176.131 | N | Tauranga City | BOP | Te Kaha, on road from Whakatane to East Cape | Powerco Ltd | POCO | 10478 | 49 | 966 | 210 | 410 | 8639 | 204 | Trustpower | 12.943 | 25.83 | 50.11% | 18.263 | 15.1664 | 11.6839 | 14.0907 | 13.2479 | 9.8581 | Winter peak | Plot for TGA0111 | Plot for TGA0111 |  |  |  |  | 2% | 69% | 16% | 13%
TGA0331 | TGA | Tauranga | 33 | 1 | earlier | 1875942.0422 | 5819814.4839 | -37.7274 | 176.131 | N | Tauranga City | BOP | Te Kaha, on road from Whakatane to East Cape | Powerco Ltd | POCO | 26017 | 131 | 1934 | 574 | 1110 | 21781 | 487 | Trustpower | 25.7653 | 70.272 | 36.67% | 29.8588 | 29.9298 | 26.5702 | 21.1392 | 27.7317 | 21.8622 | Winter daytime | Plot for TGA0331 | Plot for TGA0331 | Lloyd Mandeno, Lower Mangapapa |  |  |  | 18% | 49% | 28% | 5%
TIM0111 | TIM | Timaru | 11 | 1 | earlier | 1459006.5447 | 5085216.8382 | -44.3726 | 171.2303 | S | Timaru District | South Canterbury | Timaru | Alpine Energy | ALPE | 17189 | 924 | 495 | 11646 | 81 | 4043 | 0 | Contact Energy | 37.8386 | 62.516 | 60.53% | 47.5922 | 43.7068 | 36.5616 | 38.2204 | 38.7578 | 30.7662 | Winter peak | Plot for TIM0111 | Plot for TIM0111 |  |  | Smithfield Meat Works, Pareora Meat Works, McCain Foods | Timaru CBD, Washdyke Industrial, Pleasant Point | 40% | 30% | 25% | 5%
TKA0331 | TKA | Tekapo A | 33 | 1 | earlier | 1396472.4809 | 5123461.0884 | -44.0138 | 170.4609 | S | Mackenzie District | South Canterbury | Lake Tekapo | Alpine Energy | ALPE | 710 | 90 | 30 | 514 | 8 | 68 | 0 | Contact Energy | 1.6405 | 3.888 | 42.19% | 2.1519 | 1.8401 | 1.7565 | 1.6561 | 1.4787 | 1.2604 | Winter peak | Plot for TKA0331 | Plot for TKA0331 |  |  |  | Tekapo township, Mt Cook Village | 0% | 80% | 15% | 5%
TKH0111 | TKH | Te Kaha | 11 | 1 | earlier | 2012931.9859 | 5812383.9816 | -37.7427 | 177.6856 | N | Opotiki District | BOP | Hamilton | Horizon Energy Distribution Limited | HEDL | 1002 | 8 | 15 | 8 | 14 | 9 | 948 |  | 0.67225 | 1.734 | 38.77% | 0.85824 | 0.68486 | 0.55867 | 0.83873 | 0.71331 | 0.59531 | Winter peak | Plot for TKH0111 | Plot for TKH0111 |  |  |  |  | 0% | little | little | some
TKR0331 | TKR | Takapu Rd | 33 | 1 | earlier | 1757027.4237 | 5442089.6276 | -41.1573 | 174.8715 | N | Wellington City | Wellington | Porirua | Wellington Electricity Lines Limited | CKHK | 29147 | 2282 | 18590 | 4005 | 2504 | 528 | 1238 | Genesis Power | 44.3518 | 93.122 | 47.63% | 63.3303 | 53.1036 | 41.4232 | 46.359 | 44.5842 | 32.7501 | Winter peak | Plot for TKR0331 | Plot for TKR0331
TKU0331 | TKU | Tokaanu | 33 | 1 | earlier | 1839958.3195 | 5681603.3508 | -38.9817 | 175.7702 | N | Taupo District | Central | Turangi | The Lines Company | LINE | 4478 | 60 | 519 | 9 | 4 | 0 | 3886 |  | 4.1698 | 10.24 | 40.72% | 5.6811 | 4.6496 | 3.961 | 4.5308 | 4.0424 | 3.3263 | Winter peak | Plot for TKU0331 | Plot for TKU0331 |  | Genesis (Tokaanu) |  | Prison | 0% | 100% | 0% | 0%
TMI0331 | TMI | Te Matai | 33 | 1 | earlier | 1893973.2246 | 5809248.7256 | -37.8169 | 176.3396 | N | Western Bay of Plenty District | BOP | Te Puke | Powerco Ltd | POCO | 8112 | 33 | 589 | 159 | 235 | 6968 | 128 | Trustpower | 14.5203 | 28.284 | 51.34% | 19.4929 | 17.7157 | 14.2103 | 14.6522 | 13.7211 | 11.1768 | Winter peak | Plot for TMI0331 | Plot for TMI0331 |  |  |  |  | 4% | 36% | 27% | 33%
TMK0331 | TMK | Temuka | 33 | 1 | earlier | 1463598.3993 | 5101871.7885 | -44.2236 | 171.2923 | S | Timaru District | South Canterbury | Temuka | Alpine Energy | ALPE | 6324 | 684 | 249 | 4215 | 44 | 1132 | 0 | Contact Energy | 27.6133 | 50.798 | 54.36% | 22.0925 | 20.73 | 19.0364 | 36.133 | 35.7715 | 34.1887 | Summer peak | Plot for TMK0331 | Plot for TMK0331 |  |  | Clandeboye dairy factory | Irrigation, dairy, Temuka and Geraldine townships | 0% | 25% | 60% | 15%
TMN0551 | TMN | Taumarunui | 55 | 1 | earlier | 1801812.1531 | 5692899.8045 | -38.8896 | 175.3269 | N | Ruapehu District | Taranaki | Taumaranui (west of Lake Taupo) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2084 | 11.114 | 10.87% | 0.7756 | 0.66837 | 1.6486 | 0.79506 | 0.79202 | 1.6742 | Summer night | Plot for TMN0551 | Plot for TMN0551 |  | Ontrack
TMU0111 | TMU | Te Awamutu | 11 | 1 | earlier | 1803710.7574 | 5791401.7401 | -38.0022 | 175.3202 | N | Waipa District | Waikato | Te Awamutu | Waipa Power Ltd | WAIP | 12752 | 215 | 3017 | 253 | 858 | 8221 | 188 | Trustpower | 17.8341 | 37.3 | 47.81% | 23.8687 | 19.2072 | 15.4461 | 21.6612 | 18.6624 | 14.5048 | Winter peak | Plot for TMU0111 | Plot for TMU0111 | Anchor Products |  | Fonterra Te Awamutu |  | 0% | 50% | 10% | 40%
TNG0111 | TNG | Tangiwai | 11 | 1 | earlier | 1821294.6596 | 5628490.8257 | -39.4647 | 175.5724 | N | Ruapehu District | Central | Waiouru |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 31.188 | 48.972 | 63.69% | 31.534 | 30.8864 | 31.8881 | 30.6322 | 30.4176 | 31.1616 | Winter night | Plot for TNG0111 | Plot for TNG0111 |  | Winstone Pulp International
TNG0551 | TNG | Tangiwai | 55 | 1 | earlier | 1821294.6596 | 5628490.8257 | -39.4647 | 175.5724 | N | Ruapehu District | Central | Waiouru |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1553 | 9.054 | 12.76% | 1.0263 | 0.72078 | 1.4104 | 0.97073 | 0.86287 | 1.438 | Summer night | Plot for TNG0551 | Plot for TNG0551 |  | Ontrack
TRK0111 | TRK | Tarukenga | 11 | 1 | 2003-10-10 | 1877161.1975 | 5781279.6131 | -38.0738 | 176.1596 | N | Rotorua District | BOP | Rotorua | Unison Network Ltd | HAWK | 3489 | 16 | 1202 | 178 | 409 | 1558 | 126 | Trustpower | 4.4296 | 10.878 | 40.72% | 6.1124 | 4.8419 | 4.0429 | 5.1066 | 4.4027 | 3.5235 | Winter peak | Plot for TRK0111 | Plot for TRK0111
TUI0111 | TUI | Tuai | 11 | 1 | earlier | 1960526.8751 | 5696632.2238 | -38.8053 | 177.1514 | N | Wairoa District | Hawkes Bay | Lake Waikaremoana | Eastland Network Ltd | EAST | 368 | 6 | 131 | 11 | 2 | 218 | 0 | Trustpower | 0.32768 | 0.65 | 50.41% | 0.43297 | 0.33967 | 0.30142 | 0.36979 | 0.31825 | 0.28487 | Winter peak | Plot for TUI0111 | Plot for TUI0111 |  |  |  |  | 0% | 80% | some | some
TWH0331 | TWH | Te Kowhai | 33 | 1 | 2005-06-06 | 1789808.7223 | 5821033.1306 | -37.7383 | 175.1541 | N | Waikato District | Waikato | Hamilton | WEL Networks | WAIK | 14402 | 355 | 11635 | 691 | 1493 | 208 | 20 | Genesis Power | 16.1403 | 92.87 | 17.38% | 26.755 | 24.4956 | 14.7407 | 16.6598 | 18.708 | 5.6051 | Winter peak | Plot for TWH0331 | Plot for TWH0331 | Te Rapa |  | Fonterra Te Rapa |  | 30% | 30% | 40% | 0%
TWI2201 | TWI | Tiwai | 220 | 1 | earlier | 1247050.6374 | 4830114.5447 | -46.5896 | 168.3924 | S | Invercargill City | Otago Southland | Tiwai Point | New Zealand Aluminium Smelters Ltd | NZAS | 1 | 0 | 0 | 0 | 0 | 0 | 1 |  | 563.3831 | 609.446 | 92.44% | 561.3714 | 562.4181 | 562.187 | 563.8221 | 565.1159 | 564.8955 | Summer daytime | Plot for TWI2201 | Plot for TWI2201 |  | New Zealand Aluminium Smelters
TWZ0331 | TWZ | Twizel | 33 | 1 | earlier | 1368607.2185 | 5093092.0718 | -44.2786 | 170.1003 | S | Mackenzie District | South Canterbury | Twizel | Alpine Energy | ALPE | 1359 | 216 | 21 | 950 | 8 | 164 | 0 | Contact Energy | 0.69025 | 4.218 | 16.36% | 0.79077 | 0.73664 | 0.70669 | 0.69246 | 0.69855 | 0.59671 | Winter peak | Plot for TWZ0331 | Plot for TWZ0331 |  | Meridian (Twizel) |  | Twizel township | 0% | 70% | 10% | 20%
UHT0331 | UHT | Upper Hutt | 33 | 1 | earlier | 1775868.7114 | 5448079.547 | -41.0995 | 175.0942 | N | Upper Hutt City | Wellington | Upper Hutt | Wellington Electricity Lines Limited | CKHK | 10309 | 548 | 7422 | 1040 | 899 | 166 | 234 | Genesis Power | 15.9184 | 34.144 | 46.62% | 22.4582 | 19.0142 | 15.3732 | 16.2361 | 15.462 | 11.8729 | Winter peak | Plot for UHT0331 | Plot for UHT0331
WAI0111 | WAI | Waiotahi | 11 | 1 | earlier | 1968010.1888 | 5783084.5358 | -38.0252 | 177.1921 | N | Opotiki District | BOP | East of Whakatane | Horizon Energy Distribution Limited | HEDL | 4241 | 20 | 150 | 97 | 115 | 38 | 3821 |  | 4.8576 | 9.192 | 52.85% | 6.6814 | 5.5037 | 4.3701 | 5.55 | 4.8285 | 3.8545 | Winter peak | Plot for WAI0111 | Plot for WAI0111 |  |  |  |  | 0% | some | little | some
WDV0111 | WDV | Woodville | 11 | 1 | earlier | 1842681.3567 | 5533314.8396 | -40.3155 | 175.856 | N | Tararua District | Central | Woodville (east of Palmerston North) | Scanpower Ltd | SCAN | 1415 | 998 | 245 | 160 | 5 | 7 | 0 | Meridian Energy Ltd | 1.7506 | 3.47 | 50.45% | 2.1731 | 1.8199 | 1.5804 | 2.0329 | 1.7791 | 1.5446 | Winter peak | Plot for WDV0111 | Plot for WDV0111 |  |  | Kordia | Dairy | 5% | 60% | 20% | 15%
WEL0331 | WEL | Wellsford | 33 | 1 | earlier | 1735902.4392 | 5983373.7713 | -36.285 | 174.5133 | N | Rodney District | North Isthmus | Wellsford (north of Warkworth) | United Networks Ltd | UNET | 13191 | 335 | 7616 | 2331 | 2800 | 48 | 61 | Genesis Power | 16.0934 | 29.928 | 53.77% | 22.0163 | 17.7364 | 14.0326 | 18.7232 | 16.8327 | 12.9369 | Winter peak | Plot for WEL0331 | Plot for WEL0331
WGN0331 | WGN | Wanganui | 33 | 1 | earlier | 1781015.8504 | 5576953.9618 | -39.9382 | 175.1186 | N | Wanganui District | Central | Wanganui | Powerco Ltd | POCO | 9707 | 215 | 5867 | 935 | 2484 | 195 | 11 | Genesis Power | 15.5161 | 47.768 | 32.48% | 19.7601 | 18.304 | 13.8833 | 16.2496 | 17.0213 | 12.5341 | Winter peak | Plot for WGN0331 | Plot for WGN0331 |  |  |  | Wanganui city | 2% | 44% | 46% | 8%
WHI0111 | WHI | Whirinaki | 11 | 1 | earlier | 1934800.7632 | 5633591.6309 | -39.3823 | 176.8868 | N | Hastings District | Hawkes Bay | Whirinaki |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 26.7682 | 79.42 | 33.7% | 24.9032 | 24.9628 | 28.7495 | 25.5575 | 24.5274 | 28.3876 | Winter night | Plot for WHI0111 | Plot for WHI0111 | Pan Pac | Pan Pac Forest Products
WHU0331 | WHU | Waihou | 33 | 1 | earlier | 1836958.53 | 5838595.8995 | -37.5692 | 175.6831 | N | Matamata-Piako District | Waikato | Te Aroha (near Morrinsville, northeast of Hamilton) | Powerco Ltd | POCO | 11730 | 552 | 7311 | 1523 | 2054 | 173 | 117 | Genesis Power | 36.0822 | 57.486 | 62.77% | 39.4794 | 34.7786 | 29.9687 | 44.0698 | 40.5228 | 35.301 | Summer peak | Plot for WHU0331 | Plot for WHU0331 |  |  | Dairy factories |  | 1% | 22% | 55% | 22%
WIL0331 | WIL | Wilton | 33 | 1 | earlier | 1747426.88 | 5431039.3833 | -41.2586 | 174.7598 | N | Wellington City | Wellington | Wilton, Wellington | Wellington Electricity Lines Limited | CKHK | 14957 | 1679 | 7699 | 2695 | 1276 | 349 | 1259 | Genesis Power | 41.0772 | 98.07 | 41.89% | 56.0492 | 54.5346 | 35.336 | 43.5911 | 47.0036 | 28.2681 | Winter peak | Plot for WIL0331 | Plot for WIL0331
WIR0331 | WIR | Wiri | 33 | 1 | earlier | 1767718.6274 | 5904822.4261 | -36.9878 | 174.8846 | N | Manukau City | Auckland | Manukau, Auckland | Vector Limited | VECT | 13217 | 157 | 1011 | 2304 | 9584 | 101 | 60 | Mighty River Power Limited | 40.6512 | 69.694 | 58.33% | 49.6857 | 50.503 | 33.8906 | 44.2448 | 48.9612 | 31.7743 | Winter daytime | Plot for WIR0331 | Plot for WIR0331
WKM2201 | WKM | Whakamaru | 220 | 1 | 2001-11-01 | 1844451.3729 | 5743969.5948 | -38.4191 | 175.8 | N | Taupo District | Waikato | Mangakino, northwest of Taupo |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0023668 | 6.868 | 0.03446% | 0.00035509 | 0.0011612 | 0.00052582 | 0.004784 | 0.0053193 | 0.0030905 | Summer daytime | Plot for WKM2201 | Plot for WKM2201 |  |  |  | Dairy, glasshouses | 10% | 0% | 0% | 90%
WKO0331 | WKO | Waikino | 33 | 1 | earlier | 1845543.9304 | 5855397.2368 | -37.4157 | 175.7746 | N | Hauraki District | Waikato | Waihi | Powerco Ltd | POCO | 15233 | 399 | 8790 | 1826 | 2718 | 1228 | 272 | Genesis Power | 19.285 | 36.258 | 53.19% | 24.6546 | 20.6867 | 16.8545 | 22.4271 | 20.4435 | 16.424 | Winter peak | Plot for WKO0331 | Plot for WKO0331 |  |  | Waihi Gold |  | 11% | 25% | 49% | 15%
WPR0331 | WPR | Waipara | 33 | 1 | earlier | 1580136.2494 | 5233394.8098 | -43.0519 | 172.7561 | S | Hurunui District | Canterbury | Waipara (which is north of Amberley) | MainPower NZ Ltd | MPOW | 3343 | 209 | 67 | 2996 | 25 | 46 | 0 | Contact Energy | 5.6725 | 12.294 | 46.14% | 7.096 | 5.4458 | 5.0265 | 6.6464 | 5.8664 | 5.2381 | Winter peak | Plot for WPR0331 | Plot for WPR0331 |  |  |  | Viticulture, lifestyle | 0% | 50% | 5% | 45%
WPR0661 | WPR | Waipara | 66 | 1 | 2007-11-05 | 1580136.2494 | 5233394.8098 | -43.0519 | 172.7561 | S | Hurunui District | Canterbury | Waipara (which is north of Amberley) | MainPower NZ Ltd | MPOW | 2238 | 165 | 101 | 1918 | 12 | 42 | 0 | Contact Energy | 2.8592 | 10.862 | 26.32% | 3.2401 | 2.7329 | 2.3605 | 3.4471 | 3.281 | 2.7027 | Summer peak | Plot for WPR0661 | Plot for WPR0661 |  |  |  | Farming and small towns | 0% | 35% | 5% | 60%
WPT0111 | WPT | Westport | 11 | 1 | earlier | 1476010.7894 | 5376687.7615 | -41.752 | 171.5087 | S | Buller District | West Coast | Westport | Buller Electricity Ltd | BUEL | 490 | 78 | 8 | 70 | 1 | 333 | 0 | Trustpower | 6.1902 | 9.524 | 65% | 6.1948 | 5.9818 | 6.6238 | 5.9002 | 5.6524 | 6.2903 | Winter night | Plot for WPT0111 | Plot for WPT0111 |  |  | Holcim cement works |  | 0% | 4% | 92% | 4%
WPW0331 | WPW | Waipawa | 33 | 1 | earlier | 1894611.546 | 5575578.2736 | -39.9187 | 176.447 | N | Central Hawke's Bay District | Central | Waipawa (between Dannevirke and Hastings) | Central Hawkes Bay Power Ltd | CHBP | 7988 | 4727 | 1899 | 1174 | 96 | 92 | 0 | Meridian Energy Ltd | 13.1267 | 20.63 | 63.63% | 15.9573 | 13.6904 | 10.8474 | 15.5732 | 14.5543 | 11.9116 | Winter peak | Plot for WPW0331 | Plot for WPW0331 |  |  | Takapau freezing works |  | 0% | 24% | 40% | 36%
WRA0111 | WRA | Wairoa | 11 | 1 | earlier | 1981647.6666 | 5674332.4625 | -38.9968 | 177.4063 | N | Wairoa District | Hawkes Bay | Wairoa | Eastland Network Ltd | EAST | 4504 | 158 | 539 | 436 | 18 | 3353 | 0 | Trustpower | 4.9594 | 9.376 | 52.89% | 5.5072 | 4.8359 | 3.8499 | 5.9967 | 5.9779 | 4.8616 | Summer peak | Plot for WRA0111 | Plot for WRA0111 | Waihi Station |  |  | Meat processing | 0% | 40% | some | some
WRK0331 | WRK | Wairakei | 33 | 1 | earlier | 1870346.2574 | 5720184.3167 | -38.6257 | 176.1054 | N | Taupo District | Waikato | Taupo | Unison Network Ltd | HAWK | 14266 | 125 | 2541 | 1583 | 1834 | 7757 | 426 | Trustpower | 6.2587 | 35.55 | 17.61% | 9.0092 | 7.0873 | 5.3248 | 7.3361 | 6.8096 | 4.6875 | Winter peak | Plot for WRK0331 | Plot for WRK0331 | Hinemaiaia A, Hinemaiaia B, Hinemaiaia C
WTK0331 | WTK | Waitaki | 33 | 1 | earlier | 1396285.5007 | 5048039.4601 | -44.6921 | 170.429 | S | Waitaki District | Otago Southland | Lake Waitaki | Network Waitaki Ltd | WATA | 1799 | 1555 | 27 | 145 | 7 | 65 | 0 | Meridian Energy Ltd | 2.621 | 5.378 | 48.74% | 2.4143 | 2.2004 | 2.0993 | 3.2554 | 3.1821 | 2.8743 | Summer peak | Plot for WTK0331 | Plot for WTK0331 |  |  |  | Irrigation | 0% | some | some | most
WTU0331 | WTU | Whakatu | 33 | 1 | earlier | 1933249.5934 | 5608716.2543 | -39.6065 | 176.8813 | N | Hastings District | Hawkes Bay | Hastings | Unison Network Ltd | HAWK | 23787 | 497 | 9657 | 12769 | 202 | 660 | 2 | Contact Energy | 49.3998 | 93.104 | 53.06% | 64.8435 | 57.2813 | 44.983 | 52.8036 | 52.3389 | 39.2869 | Winter peak | Plot for WTU0331 | Plot for WTU0331 | Assorted, up to 4MW
WVY0111 | WVY | Waverley | 11 | 1 | earlier | 1740105.7978 | 5598258.0302 | -39.7541 | 174.6355 | N | South Taranaki District | Taranaki | Waverley (between Wanganui and Hawera) | Powerco Ltd | POCO | 1364 | 46 | 1098 | 76 | 91 | 53 | 0 | Genesis Power | 2.2359 | 3.886 | 57.54% | 2.5653 | 2.3578 | 1.836 | 2.6724 | 2.5445 | 2.0523 | Summer peak | Plot for WVY0111 | Plot for WVY0111 |  |  |  | Dairy | 0% | 45% | 10% | 45%
WWD1102 | WWD | West Wind | 110 | 2 | early 2009 | 1739027.2521 | 5427095.7164 | -41.2956 | 174.6605 | N | Wellington City | Wellington | Makara |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.02359 | 0.488 | 4.834% | 0.025162 | 0.029809 | 0.028045 | 0.018844 | 0.0099277 | 0.022812 | Winter daytime | Plot for WWD1102 | Plot for WWD1102
WWD1103 | WWD | West Wind | 110 | 3 | early 2009 | 1739027.2521 | 5427095.7164 | -41.2956 | 174.6605 | N | Wellington City | Wellington | Makara |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.017347 | 0.602 | 2.882% | 0.01371 | 0.020095 | 0.014532 | 0.019793 | 0.010845 | 0.024163 | Summer night | Plot for WWD1103 | Plot for WWD1103

## Field explanations
Field | Comments
Creation date | Only available for the more recent GXPs at this point - earlier data would be welcomed
Easting, Northing | NZTM - for more information see http://www.linz.govt.nz/geodetic/datums-projections-heights/projections/new-zealand-transverse-mercator-2000/index.aspx
Lat, Long | NZGD2000 - for more information see http://www.linz.govt.nz/geodetic/datums-projections-heights/geodetic-datums/new-zealand-geodetic-datum-2000/index.aspx
TLA | Territorial Local Authority
Transmission region | These regions are as used in the Commission's Statement of Opportunities (http://www.electricitycommission.govt.nz/opdev/transmis/soo)
Main lines company | There may be several lines businesses operating in the area, but this is the one with the largest number of active ICPs (as of Jan 2010)
# active ICPs as of Jan 2010 (and breakdown by retailer) | Only 'status 1' active ICPs are included in this tally, and some industrial consumers do not register. (For more detailed and up-to-date ICP statistics, see http://www.electricitycommission.govt.nz/opdev/retail/regstats)
Main retailer as of 2010 (by ICPs) | Based on the ICP counts above.
Mean offtake over 2005-09 (MW) | Sourced from the MySQL Halfhourly Database as published in the Centralised Dataset. Generally the calculation of the mean offtake excludes periods where the GXP is injecting power onto the grid
Max offtake over 2005-09 (MW) | As above. This field is quite susceptible to unusual events such as load shifting between GXPs, as well as to data errors.
Load factor | Mean offtake (above) divided by max offtake (above).
Mean offtake in winter - peak periods (MW) | Sourced from the MySQL Halfhourly Database as published in the Centralised Dataset. Generally the calculation of the mean offtake excludes periods where the GXP is injecting power onto the grid.
Mean offtake in winter - offpeak day periods (MW) | "
Mean offtake in winter - offpeak night periods (MW) | "
Mean offtake in summer - peak periods (MW) | "
Mean offtake in summer - offpeak day periods (MW) | "
Mean offtake in summer - offpeak night periods (MW) | "
Daily demand trace over 2007-09 | Sourced from the MySQL Halfhourly Database as published in the Centralised Dataset. Figures shown are daily consumption in GWh. [Note, these links will not work if you move this spreadsheet file - but you can still obtain the plots from the \NetworkConfiguration\Demand\Plots directory of the CDS DVD]
168-hour demand profile over 2007-09 | As above. Figures shown are mean consumption in MW in each trading period of the week
Embedded generators over 1 MW | Based largely on Generating Station List (as published in Centralised Dataset)
From distributor survey : major individual loads | May not be exhaustive - purely based on questionnaire responses. Missing for some distributors.
: comments on other loads | "
: CBD (%) | Load breakdown percentages are highly approximate - purely based on questionnaire responses. Missing for some distributors.
: residential (%) | "
: commercial / industrial (%) | "
: agricultural (%) | "